## Sheet1
Material | Material Description | Base Unit of Measure | Division
908111001 | CABLE,PWR,600V/1KV,CU,1C,35MM2,XLPE | M | SS
908111002 | CABLE,PWR,600V/1KV,CU,1C,120MM2,XLPE | M | SS
908111003 | CABLE,PWR,600V/1KV,CU,1C,185MM2,XLPE | M | SS
908111005 | CABLE,PWR,600V/1KV,AL,4C,70MM2,XLPE | M | SS
908111006 | CABLE,PWR,600V/1KV,AL,4C,185MM2,XLPE,UN | M | SS
908111007 | CABLE,PWR,600V/1KV,AL,4C,300MM2,XLPE | M | SS
908113005 | CABLE,PWR,15KV,CU,1C,50/16MM2,XLPLE,UARM | M | SS
908113004 | CABLE,ELEC,AL,XLPE,70SQMM,3C | M | SS
908114004 | CABLE,PWR,15KV,AL,3X500/35MM2,XLPE/LLDPE | M | SS
908113009 | CABLE,PWR,36KV,CU,1C,50/16MM2,XPLE,UARM | M | SS
908113006 | CABLE,PWR,36KV,CU,1C,500/35MM2,XPLE,UARM | M | SS
908113007 | CABLE,PWR,36KV,CU,3C,240/35MM2,XPLE,ARM | M | SS
908114005 | CABLE,PWR,36KV,AL,3X400/35MM2,XLPE/LLDPE | M | SS
908121001 | JOINT KIT,STR,1KV,4X70MM2,AL,UAR | KIT | SS
908121002 | JOINT KIT,STR,1KV,4X185MM2,AL,UAR | KIT | SS
908121003 | JOINT KIT,STR,1KV,4X300MM2,AL,UAR | KIT | SS
908121007 | JOINT KIT,STR,15KV,3X70/16MM2,AL,AR | KIT | NS
908121105 | JOINT KIT,STR,PM,15KV,3X70/16MM2,AL,AR | KIT | SS
908121142 | SPLICE KIT:CABLE,HEAT/COLD SHRINK,STRAIG | KIT | NS
908121150 | JOINT KIT,STR,PM,15KV,3X500/35MM2,AL,AR | KIT | SS
908121172 | JOINT KIT,C/R,15KV,3CX185-500,CU-AL ARM | KIT | SS
908121173 | JOINT KIT,C/R,15KV,3CX300-500,AL ARM | KIT | SS
908121171 | JOINT KIT,C/R,15KV,3CX300-500,CU-AL ARM | KIT | SS
908121170 | SPLICE KIT:CABLE,INJECTED CAST-RESIN, PR | KIT | SS
908121016 | JOINT KIT,TRANS,15KV,3X185-300SQMM,CU | KIT | NS
908121114 | JOINT KIT,TRANS,PM,15KV,3X185-300,CU | KIT | SS
908121015 | JOINT KIT,TRANS,15KV,3X185/35MM2,AL | KIT | NS
908121113 | JOINT KIT,TRANS,PM,15KV,3X185-300,CU-AL | KIT | SS
908121155 | JOINT KIT,TRANS,HS,15KV,185-500/35MM2,BM | KIT | NS
908121156 | JOINT KIT,TRANS,PM,15KV,185-500/35MM2,BM | KIT | SS
908121149 | JOINT KIT,TRANS,HS,15KV,300-500/35MM2,BM | KIT | NS
908121153 | JOINT KIT,TRANS,PM,15KV,300-500/35MM2,BM | KIT | SS
908121157 | SPLICE KIT:CABLE,HEAT/COLD SHRINK ,TRANS | KIT | NS
908121158 | JOINT KIT,TRANS,PM,15KV,500-300/35MM2,AL | KIT | SS
908121056 | JOINT KIT,STR,36KV,1X500/35MM2,CU,UAR | KIT | NS
908121130 | JOINT KIT,STR,PM,36KV,500/35MM2,CU | KIT | SS
908121058 | JOINT KIT,STR,36KV,3X240/35MM2,CU,AR | KIT | NS
908121131 | JOINT KIT,STR,PM,36KV,3X240/35MM2,CU,AR | KIT | SS
908121179 | SPLICE KIT:CABLE,PM,I/D,STR,36KV,3PH,AL | KIT | SS
908121181 | JOINT KIT,C/R,36KV,3CX400/35–3CX240X35 | KIT | SS
908121180 | JOINT KIT,TRANS,PM,36KV,3CX400/35–3CX240 | KIT | SS
908121008 | TERMINATION KIT:CABLE,HEAT/COLD SHRINK,I | KIT | SS
908121009 | TERM KIT,STR,1KV,4X185MM2,AL | KIT | SS
908121010 | TERM KIT,STR,1KV,4X300MM2,AL | KIT | SS
908121042 | TERM KIT,STR,15KV,1X50/16MM2,CU | KIT | NS
908121121 | TERM KIT,ST,PM,15KV,50/16MM2,CU,I/D | KIT | SS
908121014 | TERM KIT,STR,15KV,3X70/16MM2,AL | KIT | NS
908121112 | TERM KIT,STR,PM,15KV,3X70/16MM2,AL,AR/I | KIT | SS
908121143 | TERM KIT,STR,HS,15KV,3X500/35MM2,AL,O/D | KIT | NS
908121151 | TERM KIT,STR,PM,15KV,3X500/35MM2,AL,O/D | KIT | SS
908121148 | TERM KIT,STR,HS,15KV,3X500/35MM2,AL,I/D | KIT | NS
908121152 | TERM KIT,STR,PM,15KV,3X500/35MM2,AL,I/D | KIT | SS
908121043 | TERM KIT,RT,15KV,1X50/16MM2,CU | KIT | NS
908121122 | TERM KIT,RT,PM,15KV,50/16MM2,CU,I/D | KIT | NS
908121037 | ELBOW,EC,15KV,400A,1X50/16MM2 | EA | SS
908121045 | TERM KIT,RT,15KV,3X70/16MM2,AL | KIT | NS
908121123 | TERM KIT,RT,PM,15KV,3X70/16MM2,AL,I/D | KIT | NS
908121040 | CONN,ELEC,EL,DB | EA | SS
908121154 | TERM KIT,HS,RT,15KV,3X500/35MM2,AL,I/D | KIT | NS
908121159 | TERM KIT,PM,RT,15KV,3X500/35MM2,AL,I/D | KIT | NS
908121144 | CONN,ELEC,EL,DB | KIT | SS
908121036 | TERM KIT,STR,36KV,1X50/16MM2,CU,I/D | KIT | NS
908121120 | TERM KIT,STR,PM,36KV,50/16MM2,CU,AR,I/D | KIT | SS
908121018 | TERM KIT,STR,36KV,1X50/16MM2,CU,O/D | KIT | NS
908121115 | TERM KIT,STR,PM,36KV,50/16MM2,CU,O/D | KIT | SS
908121061 | TERM KIT,STR,36KV,1X500/35MM2,CU,I/D | KIT | NS
908121134 | TERM KIT,STR,PM,36KV,500/35MM2,CU,I/D | KIT | SS
908121060 | TERM KIT,STR,36KV,1X500/35MM2,CU,O/D | KIT | NS
908121133 | TERM KIT,STR,PM,36KV,500/35MM2,CU,O/D | KIT | SS
908121066 | TERM KIT,STR,36KV,3X240/35MM2,CU,I/D | KIT | NS
908121137 | TERM KIT,STR,PM,36KV,3X240/35MM2,CU,AR/I | KIT | SS
908121065 | TERM KIT,STR,36KV,3X240/35MM2,CU,AR/O | KIT | NS
908121136 | TERM KIT,STR,PM,36KV,3X240/35MM2,CU,AR/O | KIT | SS
908121178 | TERM KIT,STR,PM,36KV,3X400/35MM2 AL,I/D | KIT | SS
908121186 | TERM KIT,STR,PM,36KV,3X400MM2,AL/LLDPE,O | KIT | SS
908121028 | TERM KIT,RT,36KV,1X50/16MM2,CU | KIT | NS
908121117 | TERM KIT,RT,PM,36KV,50/16MM2,CU,I/D | KIT | NS
908121139 | ELBOW,EC,36KV,630A,1X50/16MM2,CU,XLPE | EA | SS
908121064 | TERM KIT,RT,36KV,1X500/35MM2,CU | KIT | NS
908121135 | TERM KIT,RT,PM,36KV,500/35MM2,CU,I/D | KIT | NS
908121187 | ELBOW,EC,36KV,630A,1X500 MM2,CU,XLPE | EA | SS
908121067 | TERM KIT,RT,36KV,3X240/35MM2,CU | KIT | NS
908121138 | TERM KIT,RT,PM,36KV,3X240/35MM2,CU,AR/I | KIT | NS
908121141 | ELBOW,EC,36KV,630A,3X240/35MM2,CU,XLPE | EA | SS
908121182 | ELBOW,EC,36KV,630A,3X400/35MM2,AL, LLDPE | EA | SS
908121169 | TERM KIT:CBL,PLUGIN,1250A,36KV,1X500SQMM | KIT | SS
908121166 | TERM KIT:CBL,PLUGIN,800A,36KV,3X240SQMM | KIT | SS
908121168 | TERM KIT:CBL,PLUGIN,1250A,36KV,3X240SQMM | KIT | SS
908121177 | TERM KIT:CBL,PLUGIN,800A,36KV,3X400 SQMM | KIT | SS
908121176 | TERM KIT:CBL,PLUGIN,1250A,36KV,3X400 SQM | KIT | SS
908312001 | PILLAR,DIST,LV,400A,800X310X830MM | EA | SS
908312037 | PILLAR,STL,400A,5WAY,W/O BASE,BEIGE | EA | SS
908312027 | PILLAR,SSTL,400A,5WAY,W/O BASE,BEIGE | EA | SS
908312002 | BASE,PILLAR DIST LV,GLASS REINF | EA | SS
908312003 | PILLAR,DIST,LV,GLASS REINF,400A,W/O BASE | EA | SS
908312037 | PILLAR,DIST,LV,SSTL,400A,5-WAY,W/O,BEIG | EA | SS
908312027 | PILLAR,STL,400A,5WAY,W/O BASE,BEIGE | EA | SS
908312038 | PILLAR,DIST,LV,SSTL,400A,3-W,G,W/O,BEIGE | EA | SS
908312028 | PILLAR,STL,400A,3WAY+GEN,W/O BASE,BEIGE | EA | SS
908318100 | PANEL,DIST,OD,AL,800A,4CK,2MCCB 400A | EA | SS
908318101 | PANEL,DIST,OD,AL,800A MAIN C.B | EA | SS
908311001 | PANEL,DIST,1600A,4-400A CB | EA | NS
908311007 | PANEL,EP,8CKT,6-400ACB,OD | EA | NS
908315001 | PANEL,ELEC PWR,DIST,OD,1600A,400/230V | EA | NS
908315003 | PANEL,ELEC PWR,DIST,ID,1600A,400/230V | EA | NS
908317116 | PANEL,DIS,OD,AL,400/230V,8CK,6MCCB400A | EA | NS
908318103 | PANEL,DIST,OD,AL,1600A,8CK,6MCCB 400A | EA | SS
908314001 | PANEL,DIST,1600A W/1.8X0.55X1.9M | EA | NS
908316001 | DELETED:USE,908317117,8 SEP, 2020 | EA | DL
908317117 | PANEL,DIST,OD,AL,1600A,400/230V | EA | NS
908318102 | PANEL,DIST,OD,AL,1600A MAIN C.B | EA | SS
908317122 | PANEL,DIS,OD,AL,400/230V,10CK,8MCCB400A | EA | NS
908318104 | PANEL,DIST,OD,AL,2500A,10CK,8MCCB 400A | EA | SS
908314003 | PANEL,DIST,3000A W/ 2X0.55X1.9M | EA | NS
908317118 | PANEL,DIST,OD,AL,3000A,400/230 | EA | NS
908318105 | PANEL,DIST,OD,AL,2500A MAIN C.B | EA | SS
908311003 | PANEL,DIST,3000A,6-400A CB | EA | NS
908311009 | PANEL,DIST,OUTDOOR,3000A,12-400A CB | EA | NS
908315002 | PANEL,ELEC PWR,DIST,OD,3000A,400/230V | EA | NS
908316002 | PANEL,ELEC PWR,DIST,OD,3000A,400/230V CB | EA | NS
908317120 | PANEL,DIS,OD,AL,400/230V,12CK,10MCCB400A | EA | SS
908311011 | PANEL,DIST,OUTDOOR,4000A,14-400A CB | EA | NS
908317113 | PANEL,DIS,OD,AL,230/133V,14CK,12MCCB400A | EA | SS
908314005 | PANEL,DIST,4000A W/2.5X0.65X1.9M | EA | NS
908317114 | PANEL,DIST,OD,AL,4000A,230/133V | EA | SS
908511033 | TFMR,PD,300KVA,13.8KX400/231V,95KVB | EA | NS
908511035 | TFMR,PD,300KVA,13.8-11KX400/231V,95KVB | EA | NS
908512037 | TFMR,PD,300KVA,13.8KV,400/230V,95KVBL | EA | NS
908512038 | TFMR,PD,300KVA,13.8KV,400/230V,110KVBL | EA | NS
908512040 | TFMR,PD,300KVA,13.8-11KX400/230V,110KVBL | EA | NS
908513012 | TFMR,PD,300KVA,13.8-11KX400/230V,110KVAL | EA | NS
908513005 | TFMR,PD,300KVA,13.8KX400/230V,110KVB,AL | EA | SS
908511034 | TFMR,PD,300KVA,13.8KX231/133V,95KVB | EA | NS
908511036 | TFMR,PD,300KVA,13.8-11KX231/133V,95KVB | EA | NS
908511134 | TFMR,PD,300KVA,13.8KX231/133V,110KVB | EA | NS
908514010 | TFMR,PD,300KVA,13.8-11KX400/230/133V,AL | EA | NS
908514005 | TFMR,PD,300KVA,13.8KX400/230/133V,110KAL | EA | SS
908511025 | TFMR,PD,300KVA,33KX400/231V,170KVB | EA | NS
908512033 | TFMR,PD,300KVA,33KX400/230V,200KVBL | EA | NS
908512034 | TFMR,PD,300KVA,33KX400/230V,170KVBL | EA | NS
908513020 | TFMR,PD,300KVA,33KX400/230V,200KVB,AL | EA | SS
908511026 | TFMR,PD,300KVA,33KX231/133V,170KVB | EA | NS
908511126 | TFMR,PD,300KVA,33KX231/133V,200KVB | EA | NS
908514015 | TFMR,PD,300KVA,33KX400/230/133V,200KV,AL | EA | SS
908511037 | TFMR,PD,500KVA,13.8KX400/231V,95KVB | EA | NS
908511039 | TFMR,PD,500KVA,13.8-11KX400/231V,95KVB | EA | NS
908512045 | TFMR,PD,500KVA,13.8KV,400/230V,95KVBL | EA | NS
908512046 | TFMR,DIST,PD,500KVA,13.8KV,400/230V | EA | NS
908512048 | TFMR,PD,500KVA,13.8-11KX400/230V,110KVBL | EA | NS
908513015 | TFMR,PD,500KVA,13.8-11KX400/230V,110KVAL | EA | NS
908513007 | TFMR,PD,500KVA,13.8KX400/230V,110KVB,AL | EA | SS
908511038 | TFMR,PD,500KVA,13.8KX231/133V,95KVB | EA | NS
908511040 | TFMR,PD,500KVA,13.8-11KX231/133V,95KVB | EA | NS
908511138 | TFMR,PD,500KVA,13.8KX231/133V,110KVB | EA | NS
908514011 | TFMR,PD,500KVA,13.8-11KX400/230/133V,AL | EA | NS
908514007 | TFMR,PD,500KVA,13.8KX400/230/133V,110KAL | EA | SS
908511027 | TFMR,PD,500KVA,33KX400/231V,170KVB | EA | NS
908512041 | TFMR,PD,500KVA,33KX400/230V,200KVBL | EA | NS
908512042 | TFMR,PD,500KVA,33KX400/230V,170KVBL | EA | NS
908513022 | TFMR,PD,500KVA,33KX400/230V,200KVB,AL | EA | SS
908511028 | TFMR,PD,500KVA,33KX231/133V,170KVB | EA | NS
908511128 | TFMR,PD,500KVA,33KX231/133V,200KVB | EA | NS
908514017 | TFMR,PD,500KVA,33KX400/230/133V,200KV,AL | EA | SS
908511059 | TFMR,PD,500KVA,34.5KX400/231V,170KVB | EA | NS
908512044 | TFMR,PD,500KVA,34.5KX400/230V,170KVBL | EA | NS
908513028 | TFMR,PD,500KVA,34.5KX400/230V,170KVB,AL | EA | SS
908511060 | TFMR,PD,500KVA,34.5KX231/133V,170KVB | EA | NS
908514022 | TFMR,PD,500KVA,34.5KX400/230/133V,170KAL | EA | SS
908511041 | TFMR,PD,1MVA,13.8KX400/231V,95KVB | EA | NS
908511043 | TFMR,PD,1MVA,13.8-11KX400/231V,95KVB | EA | NS
908512053 | TFMR,PD,1MVA,13.8KV,400/230V,95KVBL | EA | NS
908512054 | TFMR,PD,1MVA,13.8KV,400/230V,110KVBL | EA | NS
908512056 | TFMR,PD,1MVA,13.8-11KX400/230V,110KVBL | EA | NS
908513009 | TFMR,PD,1MVA,13.8-11KX400/230V,110KVB,AL | EA | NS
908513002 | TFMR,PD,1MVA,13.8KX400/230V,110KVB,AL | EA | SS
908511042 | TFMR,PD,1MVA,13.8KX231/133V,95KVB | EA | NS
908511044 | TFMR,PD,1MVA,13.8-11KX231/133V,95KVB | EA | NS
908511142 | TFMR,PD,1MVA,13.8KX231/133V,110KVB | EA | NS
908514008 | TFMR,PD,1MVA,13.8-11KX400/230/133V,AL | EA | NS
908514002 | TFMR,PD,1MVA,13.8KX400/230/133V,110KV,AL | EA | SS
908511029 | TFMR,PD,1MVA,33KX400/231V,170KVB | EA | NS
908511129 | TFMR,PD,1MVA,33KX400/231V,200KVB | EA | NS
908512049 | TFMR,DIST,PD,1MVA,33KV,400/230V,200KV | EA | NS
908512050 | TFMR,PD,1MVA,33KX400/230V,170KVBL | EA | NS
908513017 | TFMR,PD,1MVA,33KX400/230V,200KVB,AL | EA | SS
908511030 | TFMR,PD,1MVA,33KX231/133V,170KVB | EA | NS
908511130 | TFMR,PD,1MVA,33KX231/133V,200KVB | EA | NS
908514013 | TFMR,PD,1MVA,33KX400/230/133V,200KVB,AL | EA | SS
908511061 | TFMR,PD,1MVA,34.5KX400/231V,170KVB | EA | NS
908512052 | TFMR,PD,1MVA,34.5KX400/230V,170KVBL | EA | NS
908513024 | TFMR,PD,1MVA,34.5KX400/230V,170KV,AL | EA | SS
908511062 | TFMR,PD,1MVA,34.5KX231/133V,170KVB | EA | NS
908514019 | TFMR,PD,1MVA,34.5KX400/230/133V,170KV,AL | EA | SS
908511045 | TFMR,PD,1.5MVA,13.8KX400/231V,95KVB | EA | NS
908511047 | TFMR,PD,1.5MVA,13.8-11KX400/231V,95KVB | EA | NS
908512061 | TFMR,PD,1.5MVA,13.8KV,400/230V,95KVBL | EA | NS
908512062 | TFMR,PD,1.5MVA,13.8KV,400/230V,110KVBL | EA | NS
908512064 | TFMR,PD,1.5MVA,13.8-11KX400/230V,110KVBL | EA | NS
908513010 | TFMR,PD,1.5MVA,13.8-11KX400/230V,110KVAL | EA | NS
908513003 | TFMR,PD,1.5MVA,13.8KX400/230V,110KVB,AL | EA | SS
908511046 | TFMR,PD,1.5MVA,13.8KX231/133V,95KVB | EA | NS
908511048 | TFMR,PD,1.5MVA,13.8-11KX231/133V,95KVB | EA | NS
908511146 | TFMR,PD,1.5MVA,13.8KX231/133V,110KVB | EA | NS
908514009 | TFMR,PD,1.5MVA,13.8-11KX400/230/133V,AL | EA | NS
908514003 | TFMR,PD,1.5MVA,13.8KX400/230/133V,110KAL | EA | SS
908511031 | TFMR,PD,1.5MVA,33KX400/231V,170KVB | EA | NS
908512057 | TFMR,PD,1.5MVA,33KX400/230V,200KVBL | EA | NS
908512058 | TFMR,PD,1.5MVA,33KX400/230V,170KVBL | EA | NS
908513018 | TFMR,PD,1.5MVA,33KX400/230V,200KVB,AL | EA | SS
908511032 | TFMR,PD,1.5MVA,33KX231/133V,170KVB | EA | NS
908514023 | TFMR,PD,1.5MVA,33KX400/230/133V,200KV,AL | EA | SS
908511063 | TFMR,PD,1.5MVA,34.5KX400/231V,170KVB | EA | NS
908512060 | TFMR,PD,1.5MVA,34.5KX400/230V,170KVBL | EA | NS
908513025 | TFMR,PD,1.5MVA,34.5KX400/230/133V,170KAL | EA | SS
908563005 | TFMR,U/S,500KVA,13.8KV,400/230V,2CB | EA | NS
908563007 | TFMR,U/S,500KVA,13.8-11KV,400/230V,2CB | EA | NS
908567032 | TFMR,U/S,500KVA,AL,13.8KV,400/230V,2CB | EA | NS
908569100 | TFMR,U/S,500KVA,13.8KV,400/230V,4CK,2MCC | EA | SS
908561204 | TFMR,U/S,500KVA,13.8KV,400/231V,800A | EA | NS
908561212 | TFMR,U/S,500KVA,13.8/11KV,400/231V | EA | NS
908563006 | TFMR,U/S,500KVA,13.8KV,400/230V,800A | EA | NS
908563008 | TFMR,U/S,500KVA,13.8-11KV,400/230V,800A | EA | NS
908567031 | DELETED:USE,908569107,2020 NOV 06 | EA | DL
908569107 | TFMR,U/S,500KVA,AL,13.8KV,400/230V,800A | EA | SS
908561003 | TFMR,U/S,500KVA,13.8KV-231/133V | EA | NS
908561103 | TFMR,U/S,500KVA,13.8/11KV-231/133V | EA | NS
908567018 | TFMR,U/S,500KVA,AL,13.8KV,400/231/133V,6 | EA | SS
908561203 | TFMR,U/S,500KVA,13.8KV,231/133V | EA | NS
908561211 | TFMR,U/S,500KVA,13.8/11KV,231/133V | EA | NS
908567022 | TFMR,U/S,500KVAAL,13.8KV,400/231/133V,16 | EA | SS
908567034 | TFMR,U/S,500 KVA,33K,400/230V,2CB,ALVDP | EA | NS
908569108 | TFMR,U/S,500KVA,33KV,400/230V,4CK,2MCCB | EA | SS
908567033 | TFMR,U/S,500KVA,33KV,400/230V,800A,ALVDP | EA | NS
908569109 | TFMR,U/S,500KVA,AL,33KV,400/230V,800AMAI | EA | SS
908567054 | TFMR,UNIT SUB,500KVA,AL,33KV,400/231/133 | EA | SS
908567051 | TFMR,UNIT SUB,500KVA,AL,33KV,400/231/133 | EA | SS
908567040 | TFMR,U/S,500 KVA,34.5/33K,400/230V,2CB | EA | NS
908569110 | TFMR,U/S,500KVA,34.5-33KV,400/230V,4C,2M | EA | SS
908567039 | TFMR,U/S,500KVA,34.5/33KV,400/230V,800A | EA | NS
908569111 | TFMR,U/S,500KVA,AL,34.5/33KV,400/230V,80 | EA | SS
908561006 | TFMR,U/S,1MVA,13.8KV,400/231V | EA | NS
908561106 | TFMR,U/S,1MVA,13.8/11KV,400/231V | EA | NS
908563009 | TFMR,UNIT SUB,1MVA,13.8KV,400/230V,60HZ | EA | NS
908563011 | TFMR,U/S,1MVA,13.8-11KV,400/230V,6CB | EA | NS
908567026 | TFMR,U/S,1MVA,AL,13.8KV,400/230V,6CB | EA | NS
908569114 | TFMR,U/S,1MVA,13.8KV,400/230V,8CK,6MCCB | EA | SS
908561206 | TFMR,U/S,1MVA,13.8KV,400/231V | EA | NS
908561214 | TFMR,U/S,1MVA,13.8/11KV,400/231V | EA | NS
908563010 | TFMR,U/S,1MVA,13.8KV,400/230V,1600ACB | EA | NS
908563012 | TFMR,U/S,1MVA,13.8-11KV,400/230V,1600ACB | EA | NS
908567025 | TFMR,U/S,1MVA,AL,13.8KV,400/230V,1600A | EA | NS
908569115 | TFMR,U/S,1000KVA,AL,13.8KV,400/230V,1600 | EA | SS
908561005 | TFMR,U/S,1MVA,13.8KV,231/133V | EA | NS
908561105 | TFMR,U/S,1MVA,13.8/11KV,231/133V | EA | NS
908567019 | TFMR,U/S,1MVA,AL,13.8KV,400/231/133V,10 | EA | SS
908561205 | TFMR,U/S,1MVA,13.8KV,231/133V,3000A | EA | NS
908561213 | TFMR,U/S,1MVA,13.8/11KV,231/133V | EA | NS
908567023 | TFMR,U/S,1MVAAL,13.8KV,400/231/133V,30 | EA | SS
908567036 | TFMR,U/S,1MVA,33K,400/230V,6CB,ALVDP | EA | NS
908569116 | TFMR,U/S,1MVA,33KV,400/230V,8CK,6MCCB | EA | SS
908567035 | TFMR,U/S,1MVA,33KV,400/230V,1600A,ALVDP | EA | NS
908569117 | TFMR,U/S,1000KVA,AL,33KV,400/230V,1600AM | EA | SS
908567055 | TFMR,UNIT SUB,1000 KVA, AL,33KV | EA | SS
908567052 | TFMR,UNIT SUB,1MVA,AL,33KV,400/231/133V, | EA | SS
908567042 | TFMR,U/S,1MVA,34.5/33K,400/230V,6CB,LVDP | EA | NS
908569113 | TFMR,U/S,1MVA,34.5-33KV,400/230V,8CK,6MC | EA | SS
908567041 | TFMR,U/S,1MVA,34.5/33KV,400/230V,1600A | EA | NS
908569112 | TFMR,U/S,1000KVA,AL,34.5-33KV,400/230V,1 | EA | SS
908561008 | TFMR,U/S,1.5MVA,13.8KV,400/231V | EA | NS
908561108 | TFMR,U/S,1.5MVA,13.8/11KV,400/231V | EA | NS
908563013 | TFMR,U/S,1.5MVA,13.8KV,400/230V,8CB | EA | NS
908563015 | TFMR,U/S,1.5MVA,13.8-11KV,400/230V,8CB | EA | NS
908567028 | TFMR,U/S,1.5MVA,AL,13.8KV,400/230V,8CB | EA | NS
908569105 | TFMR,U/S,1.5MVA,13.8KV,400/230V,10CK,8MC | EA | SS
908561208 | TFMR,U/S,1.5MVA,13.8KV,400/231V | EA | NS
908561216 | TFMR,U/S,1.5MVA,13.8/11KV,400/231V | EA | NS
908563014 | TFMR,U/S,1.5MVA,13.8KV,400/230V,2.5KACB | EA | NS
908563016 | TFMR,U/S,1.5MVA,13.8-11KV,400/230V,2.5KA | EA | NS
908567027 | TFMR,U/S,1.5MVA,AL,13.8KV,400/230V,2500A | EA | NS
908569104 | TFMR,U/S,1500KVA,AL,13.8KV,400/230V,2500 | EA | SS
908561007 | TFMR,U/S,1.5MVA,13.8KV,231/133V,12CB | EA | NS
908561107 | TFMR,U/S,1.5MVA,13.8/11KV,231/133V | EA | NS
908567020 | TFMR,UNIT SUB,1.5MVA,13.8KV | EA | SS
908561207 | TFMR,U/S,1.5MVA,13.8KV,231/133V | EA | NS
908561215 | TFMR,U/S,1.5MVA,13.8/11KV,231/133V | EA | NS
908567024 | TFMR,U/S,1.5MVAAL,13.8KV,400/231/133V,40 | EA | SS
908567038 | TFMR,U/S,1.5MVA,33K,400/230V,8CB,ALVDP | EA | NS
908569103 | TFMR,U/S,1.5MVA,33KV,400/230V,10CK,8MCCB | EA | SS
908567037 | TFMR,U/S,1.5MVA,33K,400/230V,2.5KA,ALVDP | EA | NS
908569102 | TFMR,U/S,1500KVA,AL,33KV,400/230V,2500AM | EA | SS
908567056 | TFMR,UNIT SUB,1.5MVA,AL,33KV,400/231/33V | EA | SS
908567053 | TFMR,UNIT SUB,1.5MVA,AL,33KV,400/231/133 | EA | SS
908567044 | TFMR,U/S,1.5MVA,34.5/33K,400/230V,8CB | EA | NS
908569101 | TFMR,U/S,1.5MVA,34.5-33KV,400/230V,10C,8 | EA | SS
908567043 | TFMR,U/S,1.5MVA,34.5/33K,400/230V,2.5KA | EA | NS
908569106 | TFMR,U/S,1500KVA,AL,34.5/33KV,400/230V,2 | EA | SS
908321012 | RMU,SF6,13.8KV,400A,CB,3WAY,NON-EXT,OTDR | EA | SS
908327004 | RMU,SF6,33KV,400A,CB,3WAY,NON-EXT,OTDR | EA | SS
908321101 | SWGR,SMART RMU OD,3LBS+1CB,13.8KV,400A | EA | SS
908321014 | RMU,SF6,13.8KV,400A,CB,4WAY,3L+1C,N-E,OT | EA | SS
908321103 | SWGR,SMART RMU OD,3LBS+1CB,33KV,400/200A | EA | SS
908327005 | RMU,SF6,33KV,400A,CB,4WAY,3L+1C,N-E,OTDR | EA | SS
908321104 | SWGR,SMRT RMU OD,2LBS+2CB,13.8KV,400A | EA | SS
908321016 | RMU,SF6,13.8KV,400A,CB,4WAY,2L+2C,N-E,OT | EA | SS
908321102 | SWGR,SMART RMU OD,2LBS+2CB,33KV,400/200A | EA | SS
908327006 | RMU,SF6,33KV,400A,CB,4WAY,2L+2C,N-E,OTDR | EA | SS
908321230 | SWGR,SMART MRMU ID,2LBS+1CB,13.8KV,400A | EA | SS
908322007 | RMU,METERED,SF6 INSLT,13.8KV,2SW+1CB | EA | NS
908322005 | RMU,MET,SF6INSL,13.8KV,95KV,2SW+1CB,400A | EA | SS
908321228 | SWGR,SMART MRMU ID,2LBS+1CB,13.8KV,630A | EA | SS
908325002 | RMU,MET,SF6INSL,13.8KV,95KV,2SW+1CB,630A | EA | SS
908321226 | SWGR,SMART MRMU ID,2LBS+1CB,33KV,400A | EA | SS
908322003 | RMU,METERED,SF6 INSLT,33KV,200KV,2SW+1CB | EA | NS
908322001 | RMU,MET,SF6 INSL,33KV,170KV,2SW+1CB,400A | EA | RM
908321223 | SWGR,SMART MRMU ID,3LBS+1CB,33KV,630A | EA | SS
908325001 | RMU, METERED,SF6 INSLT, 36KV, 2SW+1CB | EA | SS
908326001 | RMU, METERED,SF6 INSLT, 34.5KV, 2SW+1CB | EA | SS
908321229 | SWGR,SMART MRMU ID,3LBS+1CB,13.8KV,400A | EA | SS
908322008 | RMU,METERED,SF6 INSLT,13.8KV,3SW+1CB | EA | NS
908322006 | RMU,MET,SF6INSL,13.8KV,95KV,3SW+1CB,400A | EA | SS
908321225 | SWGR,SMART MRMU ID,3LBS+1CB,33KV,400A | EA | SS
908322004 | RMU,METERED,SF6 INSLT,33KV,200KV,3SW+1CB | EA | NS
908322002 | RMU,MET,SF6 INSL,33KV,170KV,3SW+1CB,400A | EA | SS
908321312 | SWGR,SMART RMU O/D,2LBS+1CB,17.5KV | EA | SS
908321317 | SWGR,SMART RMU O/D,2LBS+1CB,36KV | EA | SS
908321313 | SWGR,SMART RMU O/D,3LBS+1CB,17.5KV | EA | SS
908321318 | SWGR,SMART RMU O/D,3LBS+1CB,36KV | EA | SS
908321311 | SWGR,SMART RMU O/D,2LBS+2CB,17.5KV | EA | SS
908321316 | SWGR,SMART RMU O/D,2LBS+2CB,36KV | EA | SS
908321314 | SWGR,SMART RMU O/D,3LBS,17.5KV | EA | SS
908321319 | SWGR,SMART RMU O/D,3LBS,36KV | EA | SS
908321315 | SWGR,SMART RMU O/D,4LBS,17.5KV | EA | SS
908321320 | SWGR,SMART RMU O/D,4LBS,36KV | EA | SS
908342031 | FUSE,POWER,17.5KV,31.5A | EA | SS
908342032 | FUSE,POWER,17.5KV,50A | EA | SS
908342033 | FUSE,POWER,17.5KV,80A | EA | SS
908342034 | FUSE,PWR,17.5KV,100A,FE | EA | SS
908342035 | FUSE.POWER,17.5KV,125A | EA | SS
908342036 | FUSE,HI-RUPTURE CAP,CRMC,500V,200A,KBLD | EA | SS
908501007 | TFMR,CT,LV,1500/5A,10VA,SOLID CORE | EA | SS
908501107 | TFMR,CT,LV,1500/5A,10VA,SPLIT CORE | EA | SS
908501008 | TFMR,CT,LV,3000/5A,10VA,SOLID CORE | EA | SS
908501108 | TFMR,CT,LV,3000/5A,10VA,SPLIT CORE | EA | SS
908501009 | TFMR,CT,LV,4000/5A,10VA,SOLID CORE | EA | SS
908501109 | TFMR,CT,LV,4000/5A,10VA,SPLIT CORE | EA | SS
908121076 | BOOT,STR,15KV,1X50/16MM2,CU,XLPE | KIT | NS
908121077 | BOOT,STR,15KV,3X70/16MM2,AL,XLPE | KIT | NS
908121147 | BOOT,STR,HS,15KV,3X500/35MM2,AL,XLPE,AR | KIT | NS
908121083 | BOOT,STR,36KV,1X50/16MM2,CU,XLPE | KIT | NS
908121080 | BOOT,INSUL,CABLE-BUSHING,STR,36KV | KIT | NS
908121081 | BOOT,STR,36KV,3X240/35MM2,CU,XLPE | KIT | NS
908121183 | BOOT,STR,36KV,3CX400/35 MM2 | KIT | NS
908121017 | CAP,CBL END,1KV,4X70-185MM2,AL,XLPE/PVC | EA | NS
908121019 | CAP,CBL END,1KV,4X300-3X185/35MM2,AL | EA | NS
908121020 | CAP,CBL END,15KV,1X50/16MM2,CU,XLPE,UARM | EA | SS
908121023 | CAP,CBL END,15KV,3X70/16-1X500/35MM2,AL | EA | NS
908121022 | CAP,CBL END,15KV,3X300/35MM2,CU/AL,XLPE | EA | NS
908121024 | CAP,CBL END,36KV,3X240MM2,XLPE,ARM | EA | SS
908121184 | CAP,CBL END,3CX400 MM2,36 KV, AL, LLDPE | EA | NS
908121029 | SLEEVE,REPAIR,1KV,4X70-185MM2,1500MM | EA | NS
908121031 | SLEEVE,REPAIR,1KV,4X300MM2,XLPE/PVC,1500 | EA | NS
908121026 | SLEEVE,REPAIR,3X185-240/35MM2,XLPE,ARM | EA | NS
908121032 | SLEEVE,REPAIR,15KV,1X50MM2,1500MM LG | EA | NS
908121025 | SLEEVE,REPAIR,36KV,1X500/35MM2,XLPE,UARM | EA | NS
908121035 | SLEEVE,REPAIR,15KV,3X70/16-3X185/35MM2 | EA | SS
908121034 | SLEEVE,REPAIR,15KV,3X300/35MM2,1500MM LG | EA | NS
908121145 | SLEEVE,RPR,HS,15KV,3X500/35MM2,AL,XLPE | EA | NS
908381000 | INDICATOR,FAULT,AUTOMATIC RESET,25/50A | EA | NS
908372001 | MCCB750VAC,400A,220/127&380/220V,W/O KEY | EA | SS
908112050 | CABLE,PWR,600V/1KV,QUADRUPLEX,3X50+1X50 | M | SS
908112120 | CABLE,PWR,600V/1KV,QUADRUPLEX,3X120MM2 | M | SS
908101001 | COND,BR,ACSR,QUAIL (2/0 AWG),6AL,1ALWLD | M | SS
908101002 | COND,BR,ACSR,MERLIN(336.4MCM)18AL,170MM2 | M | SS
908201001 | POLE,PWR,DIST,OC10,STL,10M LG | EA | SS
908201007 | POLE,PWR,DIST,OC10SFS,STL,10M LG | EA | SS
908201003 | POLE,PWR,DIST,OC13S,STL,13MM LG | EA | SS
908201009 | POLE,PWR,DIST,OC13SFS,STL,13MM LG | EA | SS
908201004 | POLE,PWR,DIST,OC14S,STL,14M LG | EA | SS
908201005 | POLE,PWR,DIST,OC14D,STL,14M LG | EA | SS
908201010 | POLE,PWR,DIST,OC14SFS,STL,14M LG | EA | SS
908201006 | POLE,PWR,DIST,OC15S/D,STL,15M LG | EA | SS
908201011 | POLE,PWR,DIST,OC15SFS,STL,15M LG | EA | SS
908202032 | BAND,POLE,100WDX12TH,106MMDIA A/F,HDGS | EA | SS
908202086 | BAND,POLE,100WDX12TH,166MMDIA A/F,HDGS | EA | SS
908202213 | BAND,POLE,100WDX12THMM,190MMDIA A/F,HDGS | PR | SS
908202088 | BAND,POLE,100WDX12TH,210MMDIA A/F,HDGS | EA | SS
908202214 | BAND,POLE,100WDX12THMM,234MMDIA A/F,HDGS | PR | SS
908202087 | BAND,POLE,100WDX12TH,242MMDIA A/F,HDGS | EA | SS
908202256 | BAND,POLE,SP,TYPE1,100WDX12THK,222MM A/F | EA | SS
908202254 | BAND,POLE,SP,TYPE1,100WDX12THK,231MM A/F | EA | SS
908202255 | BAND,POLE,SP,TYPE1,100WDX12THK,252MM A/F | EA | SS
908202253 | BAND,POLE,SP,TYPE1,100WDX12THK,270MM A/F | EA | SS
908202252 | BAND,POLE,SP,TYPE1,100WDX12THK,294MM A/F | EA | SS
908202251 | BAND,POLE,SP,TYPE1,100WDX12THK,317MM A/F | EA | SS
908202250 | BAND,POLE,SP,TYPE1,100WDX12THK,330MM A/F | EA | SS
908202249 | BAND,POLE,SP,TYPE2,100WDX12THK,297MM A/F | EA | SS
908202248 | BAND,POLE,SP,TYPE-2,100WDX12THK,312MM A/ | EA | SS
908202247 | BAND,POLE,CP,100WDX12THK,194MMDIA,HDGS | EA | SS
908202246 | BAND,POLE,CP,100WDX12THK,267MMDIA,HDGS | EA | SS
908202245 | BAND,POLE,CP,100WDX12THK,300MMDIA,HDGS | EA | SS
908202244 | BAND,POLE,CP,100WDX12THK,355MMDIA,HDGS | EA | SS
908202243 | BAND,POLE,CP,100WDX12THK,370MMDIA,HDGS | EA | SS
908202242 | BAND,POLE,CP,100WDX12THK,390MMDIA,HDGS | EA | SS
908202202 | GRIP,GUY,PREF,GS,840MM LG,65 KN,YELLOW | EA | SS
908202188 | GRIP,GUY,PREF,GS,940MM LG,101 KN,RED | EA | SS
908202290 | GRIP,GUY,PREF,GS,1400MM LG,155.7KN,BLACK | EA | SS
908202269 | THIMBLE,HEAVY-DUTY GUY,GS,15.9MM GROOVE | EA | SS
908202069 | THIMBLE,GUY,GS,50X22X80X3MM,8MM RAD | EA | SS
908202208 | WIRE,GUY,STL,9.8MM DIA,7/3.25MM,65KN,LH | M | SS
908202195 | WIRE,GUY,STL,12MM DIA,7/4MM,101KN,LH | M | SS
908202291 | WIRE,GUY,STL,14.48MM DIA,7W,155.7KN UTS, | M | SS
908202040 | PLATE,ANCHOR,GS,450 MM SQ X 6 MM TH | EA | NS
908202205 | PLATE,ANCHOR,GS,450X450X6MM,18MM HOLE | EA | SS
908202207 | PLATE,ANCHOR,GS,450X450X10MM,22MM HOLE | EA | SS
908202041 | PLATE,ANCHOR,GS,650SQMM X 10MM TH | EA | NS
908202204 | PLATE,ANCHOR,GS,450X450X10MM,26MM HOLE | EA | SS
908202266 | PLATE,ANCHOR,GS,450X450X12MM,26MM HOLE | EA | SS
908202267 | PLATE,ANCHOR,GS,450X450X12MM,34MM HOLE | EA | SS
908202206 | ROD,ANCHOR,GS,16MM,2500MM,ADJUSTABLE | EA | SS
908202215 | ROD,ANCHOR,GS,19MM,2500MM,ADJ | EA | SS
908202216 | ROD,ANCHOR,GS,19MM,2500MM,TWIN,ADJ | EA | SS
908202271 | ROD,ANCHOR,GS,24MM,2500MM,ADJ | EA | SS
908202203 | ROD,ANCHOR,GS,24MM,2500MM,TWIN,ADJ | EA | SS
908202270 | ROD,ANCHOR,GS,32MM,2500MM,TWIN,ADJ | EA | SS
908202055 | SHACKLE,ANCHOR,FSTL,22MM,16MM DIA,45KN | EA | SS
908202193 | GUARD,GUY,PVC-YELLOW,51MMWDX2440MMLG | EA | SS
908313009 | CABINET,LV,200A,PMT,200A MCB | EA | SS
908313004 | CABINET,LV,400A,FOR PMT,2 MCB OF 200A | EA | NS
908313010 | CABINET,LV,400A,PMT,2X200A MCB | EA | SS
908313008 | CABINET,LV,800A,FOR PMT,4 MCB OF 200A | EA | NS
908313013 | CABINET,LV,600A,PMT,3X200A MCB | EA | SS
908313011 | CABINET,LV,300A,PMT,300A MCB | EA | SS
908313012 | CABINET,LV,400A,PMT,400A MCB | EA | SS
908511013 | TFMR,PL,100KVA,13.8KX400/231V,95KVB | EA | NS
908511015 | TFMR,PL,100KVA,13.8-11KX400/231V,95KVB | EA | NS
908512013 | TFMR,PL,100KVA,13.8KV,400/230V,95KVBL | EA | NS
908512014 | TFMR,PL,100KVA,13.8KV,400/230V,110KVBL | EA | NS
908512016 | TFMR,PL,100KVA,13.8-11KX400/230V,110KVBL | EA | NS
908513008 | TFMR,PL,100KVA,13.8-11KX400/230V,110KVAL | EA | NS
908513001 | TFMR,PL,100KVA,13.8KX400/230V,110KVB,AL | EA | SS
908511014 | TFMR,PL,100KVA,13.8KX231/133V,95KVB | EA | NS
908511016 | TFMR,PL,100KVA,13.8-11KX231/133V,95KVB | EA | NS
908511114 | TFMR,PL,100KVA,13.8KX231/133V,110KVB | EA | NS
908514001 | TFMR,PL,100KVA,13.8KX400/230/133V,110KAL | EA | SS
908511003 | TFMR,PL,100KVA,33KX400/231V,170KVB | EA | NS
908512009 | TFMR,PL,100KVA,33KX400/230V,200KVBL | EA | NS
908512010 | TFMR,PL,100KVA,33KX400/230V,170KVBL | EA | NS
908513016 | TFMR,PL,100KVA,33KX400/230V,200KVB,AL | EA | SS
908511004 | TFMR,PL,100KVA,33KX231/133V,170KVB | EA | NS
908511104 | TFMR,PL,100KVA,33KX231/133V,200KVB | EA | NS
908514012 | TFMR,PL,100KVA,33KX400/230/133V,200KV,AL | EA | SS
908511051 | TFMR,PL,100KVA,34.5KX400/231V,170KVB | EA | NS
908512012 | TFMR,PL,100KVA,34.5KX400/230V,170KVBL | EA | NS
908513023 | TFMR,PL,100KVA,34.5KX400/230V,170KVB,AL | EA | SS
908511052 | TFMR,PL,100KVA,34.5KX231/133V,170KVB | EA | NS
908514018 | TFMR,PL,100KVA,34.5KX400/230/133V,170KAL | EA | SS
908511017 | TFMR,PF,200KVA,13.8KX400/231V,95KVB | EA | NS
908511019 | TFMR,PF,200KVA,13.8-11KX400/231V,95KVB | EA | NS
908512021 | TFMR,PF,200KVA,13.8KV,400/230V,95KVBL | EA | NS
908512022 | TFMR,PF,200KVA,13.8KV,400/230V,110KVBL | EA | NS
908512024 | TFMR,PF,200KVA,13.8-11X400/230V,110KVBL | EA | NS
908513011 | TFMR,PF,200KVA,13.8-11KX400/230V,110KVAL | EA | NS
908513004 | TFMR,PF,200KVA,13.8KX400/230V,110KVB,AL | EA | SS
908511018 | TFMR,PF,200KVA,13.8KX231/133V,95KVB | EA | NS
908511118 | TFMR,PF,200KVA,13.8KX231/133V,110KVB | EA | NS
908514004 | TFMR,PF,200KVA,13.8KX400/230/133V,110KAL | EA | SS
908511005 | TFMR,PF,200KVA,33KX400/231V,170KVB | EA | NS
908512017 | TFMR,PF,200KVA,33KX400/230V,200KVBL | EA | NS
908512018 | TFMR,PF,200KVA,33KX400/230V,170KVBL | EA | NS
908513019 | TFMR,PF,200KVA,33KX400/230V,200KVB,AL | EA | SS
908511006 | TFMR,PF,200KVA,33KX231/133V,170KVB | EA | NS
908511106 | TFMR,PF,200KVA,33KX231/133V,200KVBIL | EA | NS
908514014 | TFMR,PF,200KVA,33KX400/230/133V,200KV,AL | EA | SS
908511053 | TFMR,PF,200KVA,34.5KX400/231V,170KVB | EA | NS
908512020 | TFMR,PF,200KVA,34.5KX400/230V,170KVBL | EA | NS
908513026 | TFMR,PF,200KVA,34.5KX400/230V,170KVB,AL | EA | SS
908511054 | TFMR,PF,200KVA,34.5KX231/133V,170KVB | EA | NS
908514020 | TFMR,PF,200KVA,34.5KX400/230/133V,170KAL | EA | SS
908511021 | TFMR,PF,300KVA,13.8KX400/231V,95KVB | EA | NS
908511023 | TFMR,PF,300KVA,13.8-11KX400/231V,95KVB | EA | NS
908512029 | TFMR,PF,300KVA,13.8KV,400/230V,95KVBL | EA | NS
908512030 | TFMR,PF,300KVA,13.8KV,400/230V,110KVBL | EA | NS
908512032 | TFMR,PF,300KVA,13.8-11KX400/230V,110KVBL | EA | NS
908513013 | TFMR,PF,300KVA,13.8-11KX400/230V,110KVAL | EA | NS
908513006 | TFMR,PF,300KVA,13.8KX400/230V,110KVB,AL | EA | SS
908511022 | TFMR,PF,300KVA,13.8KX231/133V,95KVB | EA | NS
908511122 | TFMR,PF,300KVA,13.8KX231/133V,110KVB | EA | NS
908514006 | TFMR,PF,300KVA,13.8KX400/230/133V,110KAL | EA | SS
908511007 | TFMR,PF,300KVA,33KX400/231V,170KVB | EA | NS
908512025 | TFMR,PF,300KVA,33KX400/230V,200KVBL | EA | NS
908512026 | TFMR,PF,300KVA,33KX400/230V,170KVBL | EA | NS
908513021 | TFMR,PF,300KVA,33KX400/230V,200KVB,AL | EA | SS
908511008 | TFMR,PF,300KVA,33KX231/133V,170KVB | EA | NS
908511108 | TFMR,PF,300KVA,33KX231/133V,200KVB | EA | NS
908514016 | TFMR,PF,300KVA,33KX400/230/133V,200KV,AL | EA | SS
908511055 | TFMR,PF,300KVA,34.5KX400/231V,170KVB | EA | NS
908512028 | TFMR,PF,300KVA,34.5KX400/230V,170KVBL | EA | NS
908513027 | TFMR,PF,300KVA,34.5KX400/230V,170KVB,AL | EA | SS
908511056 | TFMR,PF,300KVA,34.5KX231/133V,170KVB | EA | NS
908514021 | TFMR,PF,300KVA,34.5KX400/230/133V,170KAL | EA | SS
908431006 | CAPACITOR BANK,600KVAR,15KV,110KV BIL,FX | EA | SS
908431008 | CAPB,SWITCHED,600KVAR,15KV,552MM CRP | EA | SS
908431009 | CAPACITOR BANK,900KVAR,15KV,95KV BIL,FX | EA | NS
908431010 | CAPACITOR BANK,900KVAR,15KV,110KV BIL,FX | EA | SS
908431012 | CAPACITOR BANK,900KVAR,15KV,110KV BIL,SW | EA | SS
908431020 | CAPACITOR BANK,600KVAR,36KV,200KV BIL,FX | EA | SS
908431028 | CAPACITOR,BANK,3X200 KVAR,36KV,3PH,60HZ | EA | SS
908431022 | CAPACITOR BANK,900KVAR,36KV,200KV BIL,FX | EA | SS
908431030 | CAPACITOR,BANK,3X300 KVAR,36KV,3PH,60HZ | EA | SS
908431032 | CAPACITOR:BANK,1200 (3X400)KVAR, 200 BIL | EA | DM
908432011 | VOLTAGE REGULATOR,100A,36KV ,825MM CRP | EA | NS
908432012 | VOLTAGE REGULATOR,100A,36KV,1P,1320MM | EA | SS
908432005 | VOLTAGE REGULATOR,200A,15KV, 345MM CRP | EA | NS
908432006 | VOLTAGE REGULATOR,200 A,15KV,1P,552MM | EA | SS
908432015 | VOLTAGE REGULATOR,200A,36KV, 825MM CRP | EA | NS
908432016 | VOLTAGE REGULATOR,200A,36KV,1P,1320MM | EA | SS
908432008 | VOLTAGE REGULATOR,300 A,15KV,1P,552MM | EA | SS
908432009 | VOLTAGE REGULATOR,400A,15KV, 345MM CRP | EA | NS
908432010 | VOLTAGE REGULATOR,400 A,15KV,1P,552MM | EA | SS
908341001 | CUTOUT,FUSE,100A,13.8KV,95KV,660MM CRP | EA | NS
908341101 | CUTOUT,FUSE,100A,13.8KV,660MMCRP, | EA | SS
908341002 | CUTOUT,FUSE,200A,13.8KV,660MM CRP | EA | SS
908341003 | CUTOUT,FUSE,100A,33KV,825MM CRP | EA | SS
908341004 | CUTOUT,FUSE,100A,33KV,1320MM CRP | EA | NS
908341104 | CUTOUT,FUSE,100A,33KV,1320MM CRP,200KV | EA | SS
908305012 | SWITCH,DISC,OVRHD,ABS,60HZ FREQ,110KV | EA | SS
908301001 | SWITCH,OHD,VERTICAL,13.8KV,3P,400A,FOR | EA | NS
908301002 | SWITCH,OHD,HORIZONTAL,13.8KV,3P,400A,FOR | EA | NS
908301004 | SWITCH,DISC,OVRHD,3,60HZ FREQ,400A | EA | NS
908301005 | SWITCH,DISC,OVRHD,13.8KV,3 P,60HZ | EA | NS
908301003 | SWITCH,OHD,VERTICAL,13.8KV,3P,400A,552MM | EA | SS
908305011 | SWITCH,DISC,OVRHD,ABS,60HZ FREQ,110KV | EA | SS
908301006 | SWITCH,OHD,HORIZONTAL,13.8KV,3P,600A,FOR | EA | NS
908301008 | SWITCH,OHD,HORIZONTAL,13.8KV,3P,600A,FOR | EA | NS
908301108 | SWITCH,OHD,HORIZONTAL,13.8KV,3P,600A,FOR | EA | NS
908301007 | SWITCH,OHD,VERTICAL,13.8KV,3P,600A,552MM | EA | SS
908305010 | SWITCH,DISC,OVRHD,ABS,60HZ FREQ,200KV | EA | SS
908305009 | SWITCH,DISC,OVRHD,ABS,60HZ FREQ,200KV | EA | SS
908302001 | SWITCH,OHD,BYPASS-REG,13.8KV,400A,552MM | EA | SS
908302002 | SWITCH,OHD,BYPASS,13.8 KV,600 A,552 MM | EA | NS
908302003 | SWITCH,OHD,BYPASS-REG,33KV,400A,825MM | EA | SS
908302005 | SWITCH,OHD,BYPASS-REG,33KV,400A,1320MM | EA | SS
908302004 | SWITCH,OHD,BYPASS,33 KV,600 A,825 MM | EA | NS
908302006 | SWITCH,OHD,BYPASS, 33 KV,600 A,1320 MM | EA | NS
908302015 | SWITCH,OHD,BYPASS-REC,33KV,400A,1320MM | EA | SS
908302014 | SWITCH,OHD,DISC,OVRHD,33KV,60HZ, 5KA | EA | NS
908302016 | SWITCH,DISC,OVRHD,60HZ FREQ,200KV,600 A | EA | NS
908302007 | SWITCH,OHD,DISC-REG,13.8KV,400A,552MM | EA | SS
908302010 | SWITCH,OHD,DISC-REG,33KV,400A,1320MM | EA | SS
908302009 | SWITCH,OHD,DISC, 33 KV,600 A,825 MM | EA | NS
908302011 | SWITCH,OHD,DISC, 33 KV,600 A,1320 MM | EA | NS
908333009 | RECLOSER:CIRCUIT,13.8 KV,3 P,60 HZ,110 K | EA | SS
908331006 | RECLOSER,AUTO,PM,13.8/15.2KV,3 P,60HZ | EA | NS
908331005 | RECLOSER,13.8KV,560A,345MM CRP | EA | NS
908331008 | RECLOSER,13.8KV,560A,110KV BIL,552MM CRP | EA | SS
908333007 | RECLOSER:CIRCUIT,33 KV,3 P,60 HZ,200 KV | EA | SS
908331002 | RECLOSER,33KV,560A,170KV BIL,1320MM CRP | EA | NS
908331001 | RECLOSER,33KV,560A,170KV BIL,825MM CRP | EA | SS
908331004 | RECLOSER,33KV,560A,200KV BIL,1320MM CRP | EA | SS
908152005 | SPACER,CNDTR,13.8KV,552MMX10MMDIA,CLAMP | EA | SS
908152007 | SPACER,CNDTR,33KV,1320MMX10MMDIA,CLAMP | EA | SS
908101101 | COVER,CONDUCTOR,15KV,75M LG,#MVLC-18-A/U | ROL | NS
908101102 | COVER,CONDUCTOR,36KV,75M LG | ROL | NS
908101103 | TOOL,COVER INSTALL,HAND,#MVLC-02 | EA | NS
908361001 | METERING UNIT,13.8KV V,ABS P,ACSR/AW W | EA | SS
908361002 | METERING UNIT,33KV V,ABS P,ACSR/AW W | EA | SS
908152001 | INSULATOR,POST,FRP,13.8KV,200MM DIA | EA | SS
908152003 | INSULATOR,SUSP,FRP,13.8KV,200MM DIA,70KN | EA | SS
908152004 | INSULATOR,SUSP,FRP,33KV,200MM DIA,70KN | EA | SS
908152002 | INSULATOR,POST,FRP,33KV,200MM DIA | EA | SS
908202080 | CROSSARM,METAL,GS,L100X100X12X2400MM | EA | SS
908202262 | CROSSARM,SP,METAL,GS,L150X12THKX3000MMLG | EA | SS
908202265 | CROSSARM,SP,METAL,GS,L160X14THKX3700MMLG | EA | SS
908202264 | CROSSARM,SP,METAL,GS,L160X14THKX4300MMLG | EA | SS
908202261 | CROSSARM,SP,METAL,GS,L160X14THKX5200MMLG | EA | SS
908202228 | BRACE,CROSSARM,GS,BOTH END CLIPPED | PR | SS
908202263 | BRACE,CROSSARM,SP,GS,ONE END CLIPPED | EA | SS
908202211 | CHANNEL,FUSE CUTOUT MTG,GS,125X65X2600MM | EA | SS
908202081 | CHANNEL,FUSE CUTOUT,C125X65X65X6X2400MM | EA | SS
908202082 | CHANNEL,TFMR MTG,GS,150X75X75X6.5X2400MM | EA | SS
908351001 | ARRESTER,SURGE,15KV,345MM CRP,5KA OPR | EA | NS
908351002 | ARRESTER,SURGE,17.5KV,552MM CRP,10KA | EA | SS
908351003 | ARRESTER,SURGE,36KV,825MM,10KA OPR DUTY | EA | NS
908351004 | ARRESTER,SURGE,36KV,1320MM CRP,10KA | EA | SS
908342001 | LINK,FUSE,15.2KV,3A,FAST | EA | SS
908342002 | LINK,FUSE,15.2KV,6A,FAST | EA | SS
908342003 | LINK,FUSE,15.2KV,8A,FAST | EA | SS
908342004 | LINK,FUSE,15.2KV,10A,FAST | EA | SS
908342005 | LINK,FUSE,15.2KV,12A,FAST | EA | SS
908342006 | LINK,FUSE,15.2KV,15A,FAST | EA | SS
908342007 | LINK,FUSE,15.2KV,20A,FAST | EA | SS
908342008 | LINK,FUSE,15.2KV,25A,FAST | EA | SS
908342009 | LINK,FUSE,15.2KV,30A,FAST | EA | SS
908342010 | LINK,FUSE,15.2KV,40A,FAST | EA | SS
908342011 | LINK,FUSE,15.2KV,50A,FAST | EA | SS
908342012 | LINK,FUSE,15.2KV,65A,FAST | EA | SS
908342013 | LINK,FUSE,15.2KV,80A,FAST | EA | SS
908342014 | LINK,FUSE,15.2KV,100A,FAST | EA | SS
908342015 | LINK,FUSE,15.2KV,140A,FAST | EA | SS
908342016 | LINK,FUSE,15.2KV,200A,FAST | EA | SS
908342017 | LINK,FUSE,36KV,3A,FAST | EA | SS
908342018 | LINK,FUSE,36KV,6A,FAST | EA | SS
908342019 | LINK,FUSE,36KV,8A,FAST | EA | SS
908342020 | LINK,FUSE,36KV,10A,FAST | EA | SS
908342021 | LINK,FUSE,36KV,12A,FAST | EA | SS
908342022 | LINK,FUSE,36KV,15A,FAST | EA | SS
908342023 | LINK,FUSE,36KV,20A,FAST | EA | SS
908342024 | LINK,FUSE,36KV,25A,FAST | EA | SS
908342025 | LINK,FUSE,36KV,30A,FAST | EA | SS
908342026 | LINK,FUSE,36KV,40A,FAST | EA | SS
908342027 | LINK,FUSE,36KV,50A,FAST | EA | SS
908342028 | LINK,FUSE,36KV,65A,FAST | EA | SS
908342029 | LINK,FUSE,36KV,80A,FAST | EA | SS
908342030 | LINK,FUSE,36KV,100A,FAST | EA | SS
908202051 | ROD,ARMOR,AA,67.44SQMM ACSR/AW,4.24MMDIA | EA | SS
908202050 | ROD,ARMOR,AA,170.5SQMM ACSR/AW,5.18MMDIA | EA | SS
908202073 | TIE,INSUL,PREF SIDE,QUAIL,73MM THR DIA | EA | SS
908202074 | TIE,INSUL,PREF SIDE,QUAIL,ARM,73MM THR | EA | SS
908202071 | TIE,INSUL,PREF SIDE,MERLIN,73MM THR DIA | EA | SS
908202078 | TIE,INSUL,PREF SIDE,MERLIN,ARM,73MM THR | EA | SS
908202076 | TIE,INSUL,PREF TOP,QUAIL,73MM THR DIA | EA | SS
908202075 | TIE,INSUL,PREF TOP,QUAIL,ARM,73MM THR | EA | SS
908202077 | TIE,INSUL,ALCSTL,POST,MERLIN,730MM LG | EA | SS
908202072 | TIE,INSUL,PREF TOP,MERLIN,ARM,73MM THR | EA | SS
908202091 | CLAMP,STRAIN,AA,11.34MMDIA,36KN,3-BOLTS | EA | SS
908202093 | CLAMP,STRAIN,AA,11.34MMDIA,36KN,STRAIGHT | EA | SS
908202092 | CLAMP,STRAIN,AA,17.35MM,45KN,3-BOLTS | EA | SS
908202094 | CLAMP,STRAIN,AA,14.31MMDIA,45KN,STRAIGHT | EA | SS
908202096 | CLAMP,SUSP,AA,11.34 MM DIA,36KN UTS | EA | SS
908202201 | CLAMP,SUSP,AA,14.31 MM DIA,45KN MIN UTS | EA | SS
908202097 | CLAMP,SUSP,AA,17.35MM DIA,45KN UTS | EA | SS
908202044 | SUPPORT,EARTHWIRE,HDGS,L120/120X10X150MM | EA | SS
908202257 | ASSY,EARTHWIRE SU,SP,GS,L120X12THKX150LG | ASM | SS
908202067 | SUPPORT,WIRE SUSP,GS,L-120X120X10X150MM | EA | SS
908202268 | SUPPORT,EARTHWIRE,HDGS,L120X12THKX150LGM | EA | SS
908202231 | CONDUIT:FLEXIBLE NONMETALLIC,76 MM OD,1 | EA | SS
908202233 | CONDUIT:FLEXIBLE NONMETALLIC,76 MM ID,2 | EA | SS
908202234 | CONDUIT,PVC,76MM ODX2500MM LG,W/CPLG NUT | EA | SS
908202232 | CONDUIT:FLEXIBLE NONMETALLIC,76 MM ID,4 | EA | SS
908202212 | CABLE,ARRESTER-EARTH,CU,35SQMMX500MM | EA | SS
908202210 | CONNECTOR,PG,AL,120SQMM,50SQMM,COMP | EA | SS
908202196 | CONNECTOR,PG,AL,120SQMM QPLX,COMP | EA | SS
908202187 | CONNECTOR,PG,AL,QUAIL ACSR/AW,COMP | EA | SS
908202200 | CONNECTOR,PG,AL,QUAIL/AW,2-BOLTS | EA | SS
908202183 | CONNECTOR,PG,AL,MERLIN ACSR/AW,COMP | EA | SS
908202209 | CONNECTOR,PG,AL,MERLIN/AW,3-BOLTS | EA | SS
908202185 | CONNECTOR,PG,AL,MERLIN/AW,QUAIL/AW,COMP | EA | SS
908202235 | CONNECTOR,PG,AL,170SQMM,67.4SQMM,3-BOLTS | EA | SS
908202236 | CONNECTOR,PG,70SQMM CU,70SQMM AL,2-BOLT | EA | SS
908202237 | CONNECTOR,PG,70SQMM CU,120SQMM AL,2-BOLT | EA | SS
908202220 | BOLT,EYE,GS,16MM DIA,155MM LG,SHOULDER | EA | SS
908202198 | BOLT,EYE,GS,16MM DIA,180MM LG,SHOULDER | EA | SS
908202221 | BOLT,EYE,GS,16MM DIA,235MM LG,SHOULDER | EA | SS
908202222 | BOLT,EYE,GS,16MM DIA,255MM LG,SHOULDER | EA | SS
908202223 | BOLT,EYE,GS,16MM DIA,275MM LG,SHOULDER | EA | SS
908202224 | BOLT,EYE,GS,16MM DIA,285MM LG,SHOULDER | EA | SS
908202225 | BOLT,EYE,GS,16MM DIA,310MM LG,SHOULDER | EA | SS
908202226 | BOLT,EYE,GS,20MM DIA,260MM LG,SHOULDER | EA | SS
908202227 | BOLT,EYE,GS,20MM DIA,365MM LG,SHOULDER | EA | SS
908202217 | BOLT,MACH,GS,16MM DIA,165MM LG,HEX | EA | SS
908202218 | BOLT,MACH,GS,16MM DIA,300MM LG,HEX | EA | SS
908202012 | BOLT,MACH,GS,20MM DIA,60MM LG,HEX | EA | SS
908202014 | BOLT,MACH,GS,20MM DIA,225MM LG,HEX | EA | SS
908202015 | BOLT,MACH,GS,20MM DIA,265MM LG,HEX HD | EA | SS
908202219 | BOLT,MACH,GS,20MM DIA,285MM LG,HEX | EA | SS
908202019 | BOLT,MACH,GS,20MM DIA,310MM LG,HEX | EA | SS
908202020 | BOLT,MACH,GS,20MM DIA,325MM LG,HEX | EA | SS
908202282 | BOLT,MACH,GS,20MM DIA,350MM LG,HEX | EA | SS
908202023 | BOLT,MACH,GS,20MM DIA,365MM LG,HEX | EA | SS
908202024 | BOLT,MACH,GS,20MM DIA,380MM LG,HEX | EA | SS
908202025 | BOLT,MACH,GS,20MM DIA,400MM LG,HEX | EA | SS
908202283 | BOLT,MACH,GS,20MM DIA,410MM LG,HEX | EA | SS
908202284 | BOLT,MACH,GS,20MM DIA,430MM LG,HEX | EA | SS
908202286 | BOLT,EYE,GS,16MM DIA,335MM LG,SHOULDER | EA | SS
908202289 | BOLT,MACH,GS,16MM DIA,250MM LG,HEX | EA | SS
908202288 | BOLT,MACH,GS,16MM DIA,325MM LG,HEX | EA | SS
908202287 | BOLT,MACH,GS,16MM DIA,350MM LG,HEX | EA | SS
908202285 | BOLT,MACH,GS,20MM DIA,450MM LG,HEX | EA | SS
908202281 | BOLT,MACH,GS,20MM DIA,70MM LG,HEX | EA | SS
908202036 | NUT,EYE,GS,16MM BLT SZ,40MMWD X 50MM LG | EA | SS
908202037 | NUT,EYE,GS,20MM BLT SZ,40MM WD X 50MM LG | EA | SS
908202057 | SLEEVE,REPAIR,67.4SQMMACSR/AW,AL,255MMLG | EA | SS
908202059 | SLEEVE,REPAIR,125.1SQMMACSR,AL,275MM LG | EA | SS
908202058 | SLEEVE,REPAIR,170SQMM ACSR,AL,295MM LG | EA | SS
908202042 | PLATE,DA,GS,100X700X12MM,22MM DIA HOLE | EA | SS
908202260 | PLATE,DA,SP,GS,120X750X12MM,22MM DIA HOL | EA | SS
908202258 | PLATE,DA-SUPPORT,SP,GS,120X590X12MM,22MM | EA | SS
908202259 | PLATE,DA,CP,GS,100X800X12MM,22MM DIA HOL | EA | SS
908202186 | LINK,EXTN,GS,CLEVIS-EYE,45KN,355MM LG | EA | SS
908202084 | BRACKET,INSUL,PSD,HOR,100X9X265MM | EA | SS
908383000 | LV DIGITAL PANEL METER | EA | SS
908382000 | INDICATOR:FAULT,AUTO RESET,O/H,500 A MAX | EA | NS
908373001 | MCCB750VAC,200A,220/127&380/220V,W/O KEY | EA | SS
908421027 | BOX,M,1 CUST UP TO 150A,380V,OTDR | EA | SS
908421025 | METERBOX,SINGLE,CUSTOMER,STL,BEIGE | EA | SS
908421029 | BOX,M,2 CUST UP TO 160A EACH,380V,OTDR | EA | SS
908421031 | METERBOX,DOUBLE,CUSTOMER,STL,BEIGE | EA | SS
908421003 | BOX,M,4 CUST UP TO 160A EACH,380V,OTDR | EA | SS
908421005 | BOX,M,1 CUST,OTDR,CT,380V VOLT,200A A | EA | SS
908421006 | BOX,M,1 CUST,OTDR,CT,380V VOLT,300/400 A | EA | SS
908421007 | BOX,M,1CUST,CT,380V,630A,785X205X965MM | EA | SS
908422800 | CABINET,SERVICE,800A,POLYESTER | EA | SS
908421004 | BOX,M,1 CUST,OD,RMT,380V VOLT | EA | SS
908421027 | METERBOX,SINGLE,CUSTOMER,(SSTL),BEIGE | EA | SS
908421025 | METERBOX,SINGLE,CUSTOMER,(STL),BEIGE | EA | SS
908421029 | METERBOX, DOUBLE ,CUSTOMER,(SSTL),BEIGE | EA | SS
908421031 | METERBOX,DOUBLE,CUSTOMER,(STL),BEIGE | EA | SS
908421001 | BOX,M,1 CUST UP TO 150A,380V,OTDR | EA | SS
908423001 | BOX,M,4CUST,150A,380V,INDR,400X230X1900 | EA | SS
908423002 | BOX,SERVICE,380V,400A,400X230X1235MM | EA | SS
908402208 | METER,ESERV,DIG,WC,133/230/400V,10(100)A | EA | SS
908402207 | METER,ESERV,DIG,WC,133/230/400V,20(160)A | EA | SS
908402206 | METER,ESERV,DIG,CT,133/230/400V,1.5(6)A | EA | SS
908402205 | METER,ESERV,CT-VT,110V,1.5(6)A | EA | SS
908371011 | BREAKER,CRCT,MC,750V,ABS POLE,20 A | EA | SS
908371001 | MCCB,750VAC,30A,3P,220/127&380/220V | EA | SS
908371012 | BREAKER,CRCT,MC,750V,ABS POLE,40 A | EA | SS
908371013 | BREAKER,CRCT,MC,750V,ABS POLE,50 A | EA | SS
908371014 | BREAKER,CRCT,MC,750V,ABS POLE,70 A | EA | SS
908371003 | MCCB750VAC,100A,3P,220/127&380/220V | EA | SS
908375008 | BREAKER,CRCT,MC,133/230 VAC,4 POLE,160 | EA | SS
908370503 | BREAKER,CRCT,MC,133/230 VAC,4 POLE,160 | EA | SS
908375008 | BREAKER,CRCT,MC,133/230 VAC,4 POLE,160 | EA | SS
908370504 | BREAKER,CRCT,MC,133/230 VAC,4 POLE,160 | EA | SS
908375000 | BREAKER,CRCT,MC,200A,CAPTSCREW,250,25KA | EA | SS
908375004 | BREAKER,CRCT,MC,250A,CAPTSCREW,800A,25KA | EA | SS
908375001 | BREAKER:CRCT,MC,300A,CAPTSCREW,300A,25KA | EA | SS
908375005 | BREAKER,CRCT,MC,400A,CAPTSCREW,400A,25KA | EA | SS
908375002 | BREAKER,CRCT,MC,500A,CAPTSCREW,500A,25KA | EA | SS
908375006 | BREAKER,CRCT,MC,600A,CAPTSCREW,600A,25KA | EA | SS
908375003 | BREAKER:CRCT,MC,800A,CAPTSCREW,800A,25KA | EA | SS
908375007 | BREAKER,CRCT,MC,1000A,CAPTSCREW,100A,25K | EA | SS
908501112 | TFMR,CUR,0.72/3/6 KV,150:5 A AR,60HZ,0.5 | EA | SS
908501001 | TFMR,CT,LV,200/5A,10VA | EA | SS
908501111 | TFMR,CUR,720V,250:5A AR,60HZ,CL0.5 | EA | SS
908501002 | TFMR,CT,LV,300/5A,10VA | EA | SS
908501003 | TFMR,CT,LV,400/5A,10VA | EA | SS
908501004 | TFMR,CT,LV,500/5A,10VA | EA | SS
908501005 | TFMR,CT,LV,600/5A,10VA | EA | SS
908501006 | TFMR,CT,LV,800/5A,10VA | EA | SS
908111011 | CABLE,CNTRL,750V,CU,2CORE,2.5SQMM,PVC | M | SS
908111010 | CABLE,CNTRL,750V,CU,12CORE,2.5SQMM,PVC | M | SS
908202070 | TIE,CABLE,PA,40-230MM,7.8MMWD | EA | SS
908202238 | Deleted - Please Use :908202229 | EA | DL
908202230 | DELETED:USE,908202229,2016.11.01 | EA | DL
908202229 | PIPE,SERVICE DROP,GS,70MMIDX76MMODX3MLG | EA | SS
908202194 | HEAD,SERV ENT,AL,SLIP-ON W/2BLT,76MM OD | EA | SS
908202190 | GRIP,WEDGE,AA,50-120SQMM ACSR/AW | EA | SS
908202104 | CONDUIT,PVC,70MM ODX1110MM LG,W/CPLG | EA | SS
908111101 | COND,BR,CU,35SQMM,7STR,SOFT DRWN | M | SS
908111102 | COND,BR,CU,70SQMM,19STR,SOFT DRWN | M | SS
908202241 | WIRE,GROUNDING,STL,10SQMMX20M LG | M | SS
908202053 | ROD,GROUND,16 MM DIA X 1200 MM LG,COPPER | EA | SS
908202054 | ROD,GROUND,16 MM DIA X 2400 MM LG,COPPER | EA | SS
908202098 | CLAMP,GRD,BRZ,35-70SQMM CU,16MM DIA CWLD | EA | SS
908202189 | CONNECTOR,GRNDG,C,CU,100-125SQMMCU | EA | SS
908202192 | GUARD,GRD WIRE,PVC,12.7MM DIAX2440MM LG | EA | SS
908202002 | BAND,STRAPPING,SSTL,20MM WD X 0.70MM TH | ROL | SS
908202027 | BUCKLE,STRAP,CRIMP,SSTL,20MM WD | EA | SS
908202033 | SLEEVE,STRAPPING BAND,PVC,24X4.6MM | ROL | SS
908202144 | HOLDER,EQUIPMENT NUM TAG,AL,98X1X400MM | EA | SS
908202105 | HOLDER,POLE NUM TAG,AL,50X40X1X400MM | EA | SS
908202145 | TAG,EQUIP NUMBERING,DIGIT"O",AL,63X1X95 | EA | SS
908202146 | TAG,EQUIP NUMBERING,DIGIT"1",AL,63X1X95 | EA | SS
908202147 | TAG,EQUIP NUMBERING,DIGIT"2",AL,63X1X95 | EA | SS
908202148 | TAG,EQUIP NUMBERING,DIGIT"3",AL,63X1X95 | EA | SS
908202149 | TAG,EQUIP NUMBERING,DIGIT"4",AL,63X1X95 | EA | SS
908202150 | TAG,EQUIP NUMBERING,DIGIT"5",AL,63X1X95 | EA | SS
908202151 | TAG,EQUIP NUMBERING,DIGIT"6",AL,63X1X95 | EA | SS
908202152 | TAG,EQUIP NUMBERING,DIGIT"7",AL,63X1X95 | EA | SS
908202153 | TAG,EQUIP NUMBERING,DIGIT"8",AL,63X1X95 | EA | SS
908202154 | TAG,EQUIP NUMBERING,DIGIT"9",AL,63X1X95 | EA | SS
908202157 | TAG,EQUIP NUMBERING,LTR"A",AL,63X1X95 | EA | SS
908202158 | TAG,EQUIP NUMBERING,LTR"B",AL,63X1X95 | EA | SS
908202159 | TAG,EQUIP NUMBERING,LTR"C",AL,63X1X95 | EA | SS
908202160 | TAG,EQUIP NUMBERING,LTR"D",AL,63X1X95 | EA | SS
908202161 | TAG,EQUIP NUMBERING,LTR"E",AL,63X1X95 | EA | SS
908202162 | TAG,EQUIP NUMBERING,LTR"F",AL,63X1X95 | EA | SS
908202163 | TAG,EQUIP NUMBERING,LTR"G",AL,63X1X95 | EA | SS
908202164 | TAG,EQUIP NUMBERING,LTR"H",AL,63X1X95 | EA | SS
908202165 | TAG,EQUIP NUMBERING,LTR"I",AL,63X1X95 | EA | SS
908202166 | TAG,EQUIP NUMBERING,LTR"J",AL,63X1X95 | EA | SS
908202167 | TAG,EQUIP NUMBERING,LTR"K",AL,63X1X95 | EA | SS
908202168 | TAG,EQUIP NUMBERING,LTR"L",AL,63X1X95 | EA | SS
908202169 | TAG,EQUIP NUMBERING,LTR"M",AL,63X1X95 | EA | SS
908202170 | TAG,EQUIP NUMBERING,LTR"N",AL,63X1X95 | EA | SS
908202171 | TAG,EQUIP NUMBERING,LTR"O",AL,63X1X95 | EA | SS
908202172 | TAG,EQUIP NUMBERING,LTR"P",AL,63X1X95 | EA | SS
908202173 | TAG,EQUIP NUMBERING,LTR"Q",AL,63X1X95 | EA | SS
908202174 | TAG,EQUIP NUMBERING,LTR"R",AL,63X1X95 | EA | SS
908202175 | TAG,EQUIP NUMBERING,LTR"S",AL,63X1X95 | EA | SS
908202176 | TAG,EQUIP NUMBERING,LTR"T",AL,63X1X95 | EA | SS
908202177 | TAG,EQUIP NUMBERING,LTR"U",AL,63X1X95 | EA | SS
908202178 | TAG,EQUIP NUMBERING,LTR"V",AL,63X1X95 | EA | SS
908202179 | TAG,EQUIP NUMBERING,LTR"W",AL,63X1X95 | EA | SS
908202180 | TAG,EQUIP NUMBERING,LTR"X",AL,63X1X95 | EA | SS
908202181 | TAG,EQUIP NUMBERING,LTR"Y",AL,63X1X95 | EA | SS
908202182 | TAG,EQUIP NUMBERING,LTR"Z",AL,63X1X95 | EA | SS
908202155 | TAG,EQUIP NUMBERING,DASH"-",AL,63X1X95 | EA | SS
908202156 | TAG,EQUIP NUMBERING,SLASH"/",AL,63X1X95 | EA | SS
908202106 | TAG,POLE NUMBERING,DIGIT"O",AL,20X1X47MM | EA | SS
908202107 | TAG,POLE NUMBERING,DIGIT"1",AL,20X1X47MM | EA | SS
908202108 | TAG,POLE NUMBERING,DIGIT"2",AL,20X1X47MM | EA | SS
908202109 | TAG,POLE NUMBERING,DIGIT"3",AL,20X1X47MM | EA | SS
908202110 | TAG,POLE NUMBERING,DIGIT"4",AL,20X1X47MM | EA | SS
908202111 | TAG,POLE NUMBERING,DIGIT"5",AL,20X1X47MM | EA | SS
908202112 | TAG,POLE NUMBERING,DIGIT"6",AL,20X1X47MM | EA | SS
908202113 | TAG,POLE NUMBERING,DIGIT"7",AL,20X1X47MM | EA | SS
908202114 | TAG,POLE NUMBERING,DIGIT"8",AL,20X1X47MM | EA | SS
908202115 | TAG,POLE NUMBERING,DIGIT"9",AL,20X1X47MM | EA | SS
908202118 | TAG,POLE NUMBERING,LTR"A",AL,20X1X47MM | EA | SS
908202119 | TAG,POLE NUMBERING,LTR"B",AL,20X1X47MM | EA | SS
908202120 | TAG,POLE NUMBERING,LTR"C",AL,20X1X47MM | EA | SS
908202121 | TAG,POLE NUMBERING,LTR"D",AL,20X1X47MM | EA | SS
908202122 | TAG,POLE NUMBERING,LTR"E",AL,20X1X47MM | EA | SS
908202123 | TAG,POLE NUMBERING,LTR"F",AL,20X1X47MM | EA | SS
908202124 | TAG,POLE NUMBERING,LTR"G",AL,20X1X47MM | EA | SS
908202125 | TAG,POLE NUMBERING,LTR"H",AL,20X1X47MM | EA | SS
908202126 | TAG,POLE NUMBERING,LTR"I",AL,20X1X47MM | EA | SS
908202127 | TAG,POLE NUMBERING,LTR"J",AL,20X1X47MM | EA | SS
908202128 | TAG,POLE NUMBERING,LTR"K",AL,20X1X47MM | EA | SS
908202129 | TAG,POLE NUMBERING,LTR"L",AL,20X1X47MM | EA | SS
908202130 | TAG,POLE NUMBERING,LTR"M",AL,20X1X47MM | EA | SS
908202131 | TAG,POLE NUMBERING,LTR"N",AL,20X1X47MM | EA | SS
908202132 | TAG,POLE NUMBERING,LTR"O",AL,20X1X47MM | EA | SS
908202133 | TAG,POLE NUMBERING,LTR"P",AL,20X1X47MM | EA | SS
908202134 | TAG,POLE NUMBERING,LTR"Q",AL,20X1X47MM | EA | SS
908202135 | TAG,POLE NUMBERING,LTR"R",AL,20X1X47MM | EA | SS
908202136 | TAG,POLE NUMBERING,LTR"S",AL,20X1X47MM | EA | SS
908202137 | TAG,POLE NUMBERING,LTR"T",AL,20X1X47MM | EA | SS
908202138 | TAG,POLE NUMBERING,LTR"U",AL,20X1X47MM | EA | SS
908202139 | TAG,POLE NUMBERING,LTR"V",AL,20X1X47MM | EA | SS
908202140 | TAG,POLE NUMBERING,LTR"W",AL,20X1X47MM | EA | SS
908202141 | TAG,POLE NUMBERING,LTR"X",AL,20X1X47MM | EA | DM
908202142 | TAG,POLE NUMBERING,LTR"Y",AL,20X1X47MM | EA | SS
908202143 | TAG,POLE NUMBERING,LTR"Z",AL,20X1X47MM | EA | SS
908202116 | TAG,POLE NUMBERING,DASH "-",AL,20X1X47MM | EA | SS
908202117 | TAG,POLE NUMBERING,SLASH"/",AL,20X1X47MM | EA | SS
908202090 | CLIP,BARBED WIRE,BUCKLE LOCKING,12 MM WD | EA | SS
908202089 | WIRE,BARBED,GCSTL,2.5+/-0.1MM STR DIA | M | SS
908202099 | BRACKET,DANGER SIGN MTG,GS,40X5X120MM | EA | SS
908202026 | BRACKET,PHASE PLATE MTG,GS,40X20X30MM | EA | SS
908202045 | PLATE,PHASE,AL,80MM DIA X 1.5MM TH | ST | SS
908202056 | SIGN,ELEC SFTY,DANGER HV,150X150X1.5MMTH | EA | SS
908122001 | CONNECTOR,LUG,16MM2 CU,(1)M10 BLT HL | EA | SS
908122002 | CONNECTOR,LUG,35MM2 CU,(1)M10,BLT HL | EA | SS
908202030 | CONN,ELEC,TERM,CU STR,35SQMM CNDCTR | EA | SS
908122003 | CONNECTOR,LUG,50MM2 CU,(1)M12 BLT HL | EA | SS
908122034 | CONN,ELEC,TERM,CU,70SQMM CNDCTR | EA | SS
908122010 | CONN,ELEC,TERM,AL,70SQMM CNDCTR | EA | SS
908122035 | CONNECTOR,LUG,120SQMM CU,13MMDIA,85MM LG | EA | SS
908122036 | CONNECTOR,LUG,120SQMM AL,13MMDIA,85MM LG | EA | SS
908122009 | CONNECTOR,LUG,185MM2 AL,(1)M12 BLT HL | EA | SS
908122037 | CONNECTOR,LUG,240SQMM CU,17MM DIA HL | EA | SS
908122049 | CONN,ELEC,TERM,36KV,240SQM,CU,2HPAD | EA | SS
908122012 | CONNECTOR,LUG,300MM2 AL/CU,(1)M10 BLT HL | EA | SS
908122011 | CONNECTOR,LUG,300MM2 AL,(1)M10 BLT HL | EA | SS
908122008 | CONNECTOR,LUG,300MM2 AL,(1)M12 BLT HL | EA | SS
908122005 | CONNECTOR,LUG,300MM2 CU,(1)M16 BLT HL | EA | SS
908122007 | CONNECTOR,LUG,300MM2 AL,(1)M17 BLT HL | EA | SS
908122046 | CONN,ELEC,TERM,15KV,300SQMM,BI,2HPAD | EA | SS
908122050 | CONN,ELEC,TERM,15KV,300SQMM,CU,2HPD | EA | SS
908122053 | CONN,ELEC,TERM,AL,400 SQMM CNDCTR | EA | SS
908122041 | CONNECTOR,LUG,15KV,500MM2,AL,17MM HL | EA | SS
908122038 | CONNECTOR,LUG,500SQMM CU,17MMDIA,108MMLG | EA | SS
908122042 | CONNECTOR,LUG,BM,15KV,500MM2,M16,COMP | EA | SS
908122051 | CONN,ELEC,TERM,36KV,500SQMM,CU,4HPAD | EA | SS
908122045 | CONN,ELEC,TERM,15KV,500SQMM,BI,4HPAD | EA | SS
908122047 | CONN,ELEC,TERM,36KV,630SQM,CU,4HPAD | EA | SS
908122054 | CONN,ELEC,TERM,15KV,800SQM,AL,4HPAD | EA | SS
908202029 | CONNECTOR,LUG,11.34MM DIA,1-14.5MMDIA HL | EA | SS
908202035 | CONNECTOR,TERM,PLUG,AL,67.44SQMM ACSR/AW | EA | SS
908202028 | CONNECTOR,LUG,17.35MM DIA,1-14.5MMDIA HL | EA | SS
908202034 | CONNECTOR,TERM,PLUG,AL,170.5SQMM ACSR/AW | EA | SS
908122055 | CONNECTOR,LUG,185SQMM AL,(1)M8 BLT HL | EA | SS
908122056 | CONNECTOR,LUG,70SQMM AL,(1)M8 BLT HL | EA | SS
908122025 | CONNECTOR,SLV,35MM2 AL-16MM2 CU,BIMTLC | EA | SS
908122013 | CONNECTOR,SLV,35MM2 AL,TIN PLT AL | EA | SS
908122017 | CONNECTOR,SLV,35MM2 CU,TIN PLT CU | EA | SS
908202066 | CONNECTOR,SLV,50SQMM,AL W/ NYL JKT | EA | SS
908122026 | CONNECTOR,SLV,50MM2 AL-35MM2 CU,BIMTLC | EA | SS
908202061 | CONNECTOR,SLV,67.4 SQMM/AW,AL,36KN | EA | SS
908122014 | CONNECTOR,SLV,70MM2 AL,TIN PLT AL | EA | SS
908122027 | CONNECTOR,SLV,70MM2 AL-35MM2 CU,BIMTLC | EA | SS
908122020 | CONNECTOR,SLV,95-70MM2 AL,TIN PLT AL | EA | SS
908122028 | CONNECTOR,SLV,95MM2 AL-70MM2 CU,BIMTLC | EA | SS
908202062 | CONNECTOR,SLV,120SQMM ACSR/AW,AL,45KN | EA | SS
908202064 | CONNECTOR,SLV,120SQMM AL,AL W/NYL JKT | EA | SS
908202060 | CONNECTOR,SLV,120X50SQMM AL,AL W/NYL JKT | EA | SS
908122029 | CONNECTOR,SLV,120MM2 AL-70MM2 CU,BIMTLC | EA | SS
908122030 | CONNECTOR,SLV,150MM2 AL-95MM2 CU,BIMTLC | EA | SS
908202063 | CONN,ELEC,SLV,TENSION | EA | SS
908122015 | CONNECTOR,SLV,185MM2 AL,TIN PLT AL | EA | SS
908122018 | CONNECTOR,SLV,185MM2 CU,TIN PLT CU | EA | SS
908122031 | CONNECTOR,SLV,185MM2 AL-120MM2 CU,BIMTLC | EA | SS
908122021 | CONNECTOR,SLV,185-95MM2 AL,TIN PLT AL | EA | SS
908122022 | CONNECTOR,SLV,185-120 MM2,AL | EA | SS
908122016 | CONNECTOR,SLV,300MM2 AL,TIN PLT AL | EA | SS
908122019 | CONNECTOR,SLV,300MM2 AL,TIN PLT CU | EA | SS
908122023 | CONNECTOR,SLV,300-150MM2 AL,TINPLT AL | EA | SS
908122032 | CONNECTOR,SLV,300MM2 AL-120MM2 CU,BIMTLC | EA | SS
908122033 | CONNECTOR,SLV,300MM2 AL X 185MM2 CU | EA | SS
908122040 | CONNECTOR,SLV,15KV,500MM2,AL,TIN PLT AL | EA | SS
908122043 | CONNECTOR,SLV,BM,500-185MM2 | EA | SS
908122024 | CONNECTOR,SLV,AL,500-300MM2 | EA | SS
908122044 | CONNECTOR,SLV,BM,500-300MM2 | EA | SS
908020204 | KEY,MASTER,BRS,47MMX2MM THK | EA | SS
908020203 | LOCK,CYLINDER,BRS,17WDX45DPX33MM HT | EA | SS
908020201 | LOCK,PAD,OPERATION,6MM,40MM,17.2MM,BRS | EA | SS
908020202 | LOCK,PAD,SAFETY,6MM,40MM,17.2MM,BRS/RED | EA | SS
908421008 | LOCK:EQUIPMENT,METER SEAL,PLASTIC/STL,19 | EA | SS
908021001 | OIL,INSUL,12 CENTISTOKE (MAX) AT 40 DEG | DR | SS
908111004 | CABLE,PWR,600V/1KV,CU,1C,630MM2,XLPE | M | NS
908113001 | CABLE,ELEC,CU,XLPE,185SQMM,3C | M | RM
908113002 | CABLE,PWR,15KV,CU,3C,300/35MM2,XPLE,ARM | M | NS
908113008 | CABLE,PWR,36KV,CU,3C,185/35 MV,,XPLE,ARM | M | NS
908115001 | CABLE,FIBER OPTIC,NON METALIC,96,PVC JKT | M | NS
908121004 | JOINT KIT,STR,15KV,3X185/35MM2,CU,UAR | KIT | NS
908121102 | JOINT KIT,STR,PM,15KV,3X185/35MM2,CU | KIT | RM
908121005 | JOINT KIT,STR,15KV,3X300/35MM2,CU,AR | KIT | NS
908121103 | JOINT KIT,STR,PM,15KV,3X300/35MM2,CU,AR | KIT | NS
908121059 | SPLICE KIT:CABLE,HEAT/COLD SHRINK,STRAIG | KIT | NS
908121132 | JOINT KIT,STR,PM,36KV,3X185/35MM2,CU,AR | KIT | NS
908125001 | SPLICE,FB OPT,96,FIBER CABLE CLOSURE KIT | EA | NS
908121047 | TERM KIT,STR,15KV,3X185/35MM2,CU | KIT | RM
908121124 | TERM KIT,STR,PM,15KV,3X185/35MM2,CU,I/D | KIT | NS
908121011 | TERM KIT,STR,15KV,3X185/35MM2,CU | KIT | NS
908121109 | TERM KIT,STR,PM,15KV,3X185/35MM2,CU,O/D | KIT | NS
908121050 | TERM KIT,STR,15KV,3X300/35MM2,CU | KIT | NS
908121126 | TERM KIT,STR,PM,15KV,3X300/35MM2,CU,AR/I | KIT | NS
908121012 | TERM KIT,STR,15KV,3X300/35MM2,CU | KIT | NS
908121110 | TERM KIT,STR,PM,15KV,3X300/35MM2,CU,AR/O | KIT | NS
908121048 | TERM KIT,RT,15KV,3X185/35MM2,CU | KIT | NS
908121125 | TERM KIT,RT,PM,15KV,3X185/35MM2,CU,I/D | KIT | NS
908121051 | TERM KIT,HS,RT,15KV,3X300/35MM2,CU | KIT | NS
908121127 | TERM KIT,RT,PM,15KV,3X300/35MM2,CU,AR/I | KIT | NS
908121038 | ELBOW,EC,15KV,400A,3X185/35MM2 | EA | RM
908121039 | ELBOW,EC,15KV,400A,3X300/35MM2, CU | EA | NS
908121041 | ELBOW,EC,15KV,400A,3X300/35MM2, AL | EA | RM
908121119 | TERM KIT,STR,PM,36KV,3X185/35MM2,CU,AR/I | KIT | NS
908121021 | TERM KIT,STR,36KV,3X185/35MM2,CU,O/D | KIT | NS
908121116 | TERM KIT,STR,PM,36KV,3X185/35MM2,CU,AR/O | KIT | NS
908121030 | TERM KIT,RT,36KV,3X185/35MM2,CU | KIT | NS
908121118 | TERM KIT,RT,PM,36KV,3X185/35MM2,CU,AR/I | KIT | NS
908121140 | ELBOW,EC,36KV,630A,3X185MM2,CU,XLPE | EA | NS
908311107 | PANEL,DIST,INDOOR,1600A,8-400A CB | EA | NS
908311109 | PANEL,DIST,INDOOR,3000A,12-400A CB | EA | NS
908315004 | PANEL,ELEC PWR,DIST,ID,3000A,400/230V | EA | NS
908317119 | PANEL,DIS,ID,AL,400/230V,12CK,10MCCB400A | EA | NS
908311005 | PANEL,DIST,4000A,6-400A CB | EA | NS
908311111 | PANEL,DIST,INDOOR,4000A,14-400A CB | EA | NS
908317112 | PANEL,DIS,ID,AL,230/133V,14CK,12MCCB400A | EA | NS
908561002 | TFMR,U/S,300KVA,13.8KV-400/231V | EA | NS
908561102 | TFMR,U/S,300KVA,13.8/11KV-400/231V | EA | NS
908563001 | TFMR,U/S,300KVA,13.8-11KV,400/230V,2CB | EA | NS
908563003 | TFMR,U/S,300KVA,13.8KV,400/230V,2CB | EA | NS
908567030 | TFMR,U/S,300KVA,AL,13.8KV,400/230V,2CB | EA | NS
908561202 | TFMR,U/S,300KVA,13.8KV,400/231V,500A | EA | NS
908561210 | TFMR,U/S,300KVA,13.8/11KV,400/231V | EA | DM
908563002 | TFMR,U/S,300KVA,13.8-11KV,400/230V,500A | EA | NS
908563004 | TFMR,U/S,300KVA,13.8KV,400/230V,500A,BB | EA | NS
908567029 | TFMR,U/S,300KVA,AL,13.8KV,400/230V,500A | EA | NS
908561001 | TFMR,U/S,300KVA,13.8KV-231/133V | EA | NS
908561101 | TFMR,U/S,300KVA,13.8/11KV-231/133V | EA | NS
908567017 | TFMR,U/S,300KVA,AL,13.8KV,231/133V,2CB | EA | NS
908561201 | TFMR,U/S,300KVA,13.8KV,231/133V,800A | EA | NS
908561209 | TFMR,U/S,300KVA,13.8/11KV,231/133V | EA | NS
908567021 | TFMR,U/S,300KVA,AL,13.8KV,231/133V,800A | EA | NS
908321001 | SWGR,RMU,INDR,NE,2LBS+1FS,13.8KV,3 P | EA | NS
908321011 | RMU,SF6,13.8KV,400A,CB,3WAY,NON-EXT,INDR | EA | NS
908327001 | SWGR,RMU,INDR,NE,2LBS+1CB,33KV,3 P,60HZ | EA | NS
908321003 | SWGR,RMU,INDR,NE,3LBS+1FS,13.8KV,3 P | EA | NS
908321013 | RMU,SF6,13.8KV,400A,CB,4WAY,NON-EXT,INDR | EA | NS
908327002 | SWGR,RMU,INDR,NE,3LBS+1CB,33KV,3 P,60HZ | EA | NS
908321015 | SWGR,GAS,13.8KV,400A,CB,4WAY,2+2,IND | EA | NS
908327003 | SWGR,RMU,INDR,NE,2LBS+2CB,33KV,3 P,60HZ | EA | NS
908121074 | BOOT,RT ANG,36KV,3X185/35MM2,XLPE | KIT | NS
908122006 | CONNECTOR,LUG,630MM2 CU,(4)M10 BLT HL | EA | NS
908122039 | CONNECTOR,LUG,185SQMM CU,(1)M16 BLT HL | EA | NS
908031003 | LOCK:SECURITY,MTR_BOX, RED,AL,200MMX4MM | EA | NS
908321106 | SWGR,SMRT RMU OD,2LBS+1CB,13.8KV,400A | EA | SS
908321105 | SWGR,SMART RMU OD,2LBS+1CB,33KV,400/200A | EA | SS
908321125 | SWGR,SRMU OD,2LBS+1CB,ATS,13.8KV,400A | EA | SS
908321128 | SWGR,SRMU OD,2LBS+1CB,ATS,33KV,400/200A | EA | SS
908321103 | SWGR,SMART RMU OD,3LBS+1CB,33KV,400/200A | EA | SS
908321101 | SWGR,SMART RMU OD,3LBS+1CB,13.8KV,400A | EA | SS
908321124 | SWGR,SMART RMU OD,3LBS,13.8 KV,400A | EA | SS
908321127 | SWGR,SMART RMU OD,3LBS,33 KV,400A | EA | SS
908321104 | SWGR,SMRT RMU OD,2LBS+2CB,13.8KV,400A | EA | SS
908321102 | SWGR,SMART RMU OD,2LBS+2CB,33KV,400/200A | EA | SS
908321126 | SWGR,SMART RMU OD,4LBS,13.8 KV,400A | EA | SS
908321129 | SWGR,SMART RMU OD,4LBS,33 KV,400A | EA | SS
908321230 | SWGR,SMART MRMU ID,2LBS+1CB,13.8KV,400A | EA | SS
908321226 | SWGR,SMART MRMU ID,2LBS+1CB,33KV,400A | EA | SS
908321228 | SWGR,SMART MRMU ID,2LBS+1CB,13.8KV,630A | EA | SS
908321224 | SWGR,SMART MRMU ID,2LBS+1CB,33KV,630A | EA | SS
908321234 | SWITCHGEAR:METAL ENCLOSED,SMART AMRMU, I | EA | SS
908321233 | SWGR,SMRMU ID,2LBS+1CB,ATS,13.8KV,630A | EA | SS
908321232 | SWGR,SMRMU ID,2LBS+1CB,ATS,13.8KV,400A | EA | SS
908321231 | SWGR,SMRT AMRMU ID,2LBS+1CB,ATS,33KV,400 | EA | SS
908321229 | SWGR,SMART MRMU ID,3LBS+1CB,13.8KV,400A | EA | SS
908321225 | SWGR,SMART MRMU ID,3LBS+1CB,33KV,400A | EA | SS
908321227 | SWGR,SMART MRMU ID,3LBS+1CB,13.8KV,630A | EA | SS
908321223 | SWGR,SMART MRMU ID,3LBS+1CB,33KV,630A | EA | SS
908386000 | INDICATOR,FAULT,SMART,110TO240VACVOLT | EA | SS
908305012 | SWITCH,DISC,OVRHD,ABS,60HZ FREQ,110KV | EA | SS
908305011 | SWITCH,DISC,OVRHD,ABS,60HZ FREQ,110KV | EA | SS
908305010 | SWITCH,DISC,OVRHD,ABS,60HZ FREQ,200KV | EA | SS
908305009 | SWITCH,DISC,OVRHD,ABS,60HZ FREQ,200KV | EA | SS
908333008 | RECLOSER:CIRCUIT,13.8 KV,3 P,60 HZ,95 KV | EA | SS
908333009 | RECLOSER:CIRCUIT,13.8 KV,3 P,60 HZ,110 K | EA | SS
908333011 | RECLOSER:CIRCUIT,33 KV,3 P,60 HZ,170 KV | EA | SS
908333007 | RECLOSER:CIRCUIT,33 KV,3 P,60 HZ,200 KV | EA | SS
908334005 | SECTIONALIZER:NETWORK,SMART SECTIONALIZE | EA | SS
908334004 | SECTIONALIZER:NETWORK,SMART SECTIONALIZE | EA | SS
908385000 | INDICATOR,FAULT,SMART,SLAVE,O/H,36KV | ST | SS
905728073 | CABLE,ELEC,CU,XLPE,95SQMM,1,WH,#ENH117A0 | M | RM
905728068 | CABLE,ELEC,CU,XLPE,70SQMM,1,19 STRAND | M | RM
905700924 | CABLE,ELEC,CU,XLPE,95SQMM,1,19 STRAND,#0 | M | IS
905757809 | CABLE,ELEC,CU,XLPE,500SQMM,1,#150010TXF | M | RM
905728066 | CABLE,ELEC,CU,XLPE,95SQMM,1,#HFDE4201 | M | RM
907300327 | CABLE,ELEC,CU,XLPE,240SQMM,1,#1CX240SQMM | M | RM
905705551 | CABLE,ELEC,CU,XLPE,500SQMM,1,#MDR3505001 | M | RM
905781158 | CABLE,ELEC,CU,XLPE,500SQMM,1,WH,#2562210 | M | RR
909110393 | CABLE,ELEC,CU,XLPE,120SQMM,ABS,19 STRAND | M | NI
905741282 | SPLICE KIT:CABLE,HEAT SHRINK ,INLINE ,17 | KIT | RM
905705538 | SPLICE KIT:CABLE,HEAT SHRINK ,STRAIGHT , | EA | RM
905901259 | SPLICE KIT:CABLE,HEAT SHRINK ,36 KV ,1 P | KIT | RM
905897605 | SPLICE KIT:CABLE,HEAT SHRINK ,STRAIGHT , | KIT | RR
907004000 | SPLICE KIT:CABLE,HEAT SHRINK,STRAIGHT,36 | KIT | RR
907004005 | TERMINATION KIT:CABLE,HEAT SHRINK,INDOOR | KIT | RR
905897737 | TERMINATION KIT:CABLE,I/D, STRAIGHT,12/1 | KIT | RM
905902023 | TERMINATION KIT:CABLE,HEATSHRINK,O/D, ST | KIT | RR
904045204 | TERMINATION KIT:CABLE,HEAT SHRINK,INDOOR | KIT | IS
909110389 | TERMINATION KIT,CABLE:3C X 120 SQMM,CU/X | KIT | NI
909110390 | TERMINATION KIT,CABLE:3C X 120 SQ.MM,CU/ | KIT | NI
905702039 | PLUG,INSULATING, DEAD END,100 MM DIA X 1 | EA | RM
905711523 | PLUG,INSULATING, CONNECTING,11-11/16 IN | EA | RM
905727982 | PLUG,ELECTRICAL, DEADEND,SIZE: 3-13/16 I | EA | RM
905727981 | PLUG,INSULATING, CONNECTING,9-5/16 IN (2 | EA | RM
905727972 | PLUG,INSULATING, DEAD END,96.83 MM LG,AL | EA | RM
905761749 | ADAPTER,CABLE, SPLICE, NON-LOADBREAK ELB | EA | RM
905727980 | ADAPTER,CABLE, SPLICE,15 KV 600 A,0.825 | EA | RM
905727974 | ADAPTER,CABLE,15 KV 600 A,1.485 IN TO 1. | EA | RM
905727976 | ADAPTER,CABLE, SPLICE,35 KV 600 A,1.095 | EA | RM
905727977 | ADAPTER,CABLE, SPLICE,35 KV 600 A,1.485 | EA | RR
905740760 | ADAPTER,CABLE, SPLICE,35 KV 600 A,1.515 | EA | RM
905727978 | ADAPTER,CABLE, SPLICE,35 KV 600 A,1.845 | EA | RM
907503002 | CONN,ELEC,TERM,CU,500 MCM CNDCTR,#CTL500 | EA | RM
905897078 | CONN,ELEC,TERM,CU,1000 KCMIL CNDCTR,#BT6 | EA | RM
905727939 | CONN,ELEC,TERM,CU,500SQMM CNDCTR,#YA44L | EA | RM
905727993 | CONN,ELEC,EL,LB,#2604896B39 | EA | RM
905727990 | CONN,ELEC,EL,LB,#166LRB5250 | EA | RM
905727988 | CONN,ELEC,EL,LB,#376LRK5250 | EA | RM
905716040 | CONN,ELEC,EL,LB,#LE235F09T | EA | RM
905738169 | CONN,ELEC,TERM,AL/CU,#650LRC30 | EA | NS
905727935 | CONN,ELEC,TERM,CU,70SQMM CNDCTR,#YA26L6B | EA | RM
905727936 | CONN,ELEC,TERM,CU,95 SQMM STR CNDCTR,#HL | EA | RM
905727943 | CONN,ELEC,TERM,CU,185SQMM CNDCTR,#BLU040 | EA | RM
905728002 | CONTACT:MAIN,CRIMP STYLE,600 A,15 KV,AL, | EA | RM
905728003 | CONN,ELEC,TERM,AL,4/0 AWG STR CNDCTR,#03 | EA | RM
905728005 | CONN,ELEC,TERM,AL,500 MCM CNDCTR,#037003 | EA | RM
905728007 | CONTACT:MAIN,CRIMP STYLE,600 A,25 KV,AL, | EA | RM
905835838 | CONN,ELEC,EL,DEADBREAK,#DT436 | ST | RM
905835839 | CONN,ELEC,EL,DEADBREAK,#DT436H240 | ST | RM
907100712 | CONN,ELEC,EL,DEADBREAK,#DT436T | ST | RM
905727925 | CONN,ELEC,SLV,NO TENSION,CU BODY,#SC2010 | EA | RM
905727926 | CONN,ELEC,SLV,BUTT,CU BODY,CU CNDCTR,#MN | EA | IS
905727929 | CONN,ELEC,SLV,BUTT,CU, TIN-PLATED BODY | EA | RM
905727930 | CONN,ELEC,SLV,NO TENSION,#XG7T240 | EA | RM
905727933 | CONN,ELEC,SLV,TENSION,CU BODY,CU CNDCTR | EA | RM
905727983 | CONN,ELEC,EL,DEADBREAK,#K655BLR | EA | RM
905711522 | CONN,ELEC,EL,DEADBREAK,#755BLR | EA | RM
907501001 | TFMR,DIST,PD,150,13.8K V AC,220/127 V AC | EA | RM
905773802 | TFMR,DIST,PD,300KVA,13.8K V AC,#A811530C | EA | RR
905773280 | SWITCHGEAR:METAL ENCLOSED,RMU, O/D, (2) | EA | RM
905933519 | SWITCH:TRANSFER,AUTOMATIC, GAS INSULATED | EA | RR
905933805 | METERING UNIT,15K V,3 P,3 W W,200A,#8DH1 | EA | RM
905710730 | METERING UNIT,15K V,ABS P,ABS W | EA | RM
905733051 | SWITCH,DISC,500 V 3 PH 40O A,HNDL OPR,#0 | EA | RM
905897105 | FUSE:LOW VOLTAGE,400 A,500 V AC,SLOW BLO | EA | NI
905728088 | INDICATOR,FAULT,100A MAX CC,#1515TB3A317 | EA | NS
905705625 | INDICATOR,FAULT,400A MAX CC,#1515WB8A310 | EA | RM
905727954 | BRAID:GROUNDING,12.7 MM WD X 4.57 M LG X | EA | RM
905704111 | BRAID:SHIELDING,25 MM (1 IN) WD X 4.6 M | RL | RM
905728024 | DEVICE,GROUNDING,METALLIC TAPE SHIELDED | EA | NS
905728023 | DEVICE,GROUNDING,METALLIC TAPE SHIELDED | EA | RM
905728015 | DEVICE,GROUNDING,METALLIC TAPE SHIELDED | EA | RM
905922384 | CONN,ELEC,SP,#KS254AWGTO10AWG | EA | IS
905720747 | CONN,ELEC,SP,6 SOL TO 3 AWG STR RUN/TAP | EA | RM
905743739 | SPRING,TORSION,1-3/4 IN,1-3/4 IN OD,#EPP | EA | RM
905738009 | SEAL,DUCT,EXPANSION,152.4 MM (6 IN) DUCT | EA | NS
905727095 | SEAL,EXPANSION,6 IN (152.4 MM),ELASTOMER | EA | RM
905759635 | STUD,DBL ENDED,2-5/8 IN DIA-B,#750SA | EA | RM
905758396 | TUBING,SHRINK,MODIFIED POLYOLEFIN,#50161 | EA | RM
905743958 | COMPOUND,SEALING,GRY,5 LB CAN,#DS5COMPOU | PAK | RM
905721817 | INSERT,ELECTRICAL BUSHING,15 KV, 200 A,E | EA | RM
905704365 | RAG:CLEANING,40 KG PER BALE,PURE COTTON, | BL | RM
905708928 | CLEANER,CONTACT DEGREASER,13 TO 16 OZ AE | CNT | IS
905708973 | SIGN:IDENTIFICATION,SAUDI ELECTRICITY CO | EA | RM
905929075 | METERING UNIT,34.5KV V,ABS P,ABS W,400A | EA | RM
905929073 | METERING UNIT,33KV V,3 P,3 W W,400A | EA | RM
908113004 | CABLE,ELEC,AL,XLPE,70SQMM,3C | M | SS
908113009 | CABLE,PWR,36KV,CU,1C,50/16MM2,XPLE,UARM | M | SS
908121040 | CONN,ELEC,EL,DB | EA | SS
908121139 | ELBOW,EC,36KV,630A,1X50/16MM2,CU,XLPE | EA | SS
908569100 | TFMR,U/S,500KVA,13.8KV,400/230V,4CK,2MCC | EA | SS
908569108 | TFMR,U/S,500KVA,33KV,400/230V,4CK,2MCCB | EA | SS
908569114 | TFMR,U/S,1MVA,13.8KV,400/230V,8CK,6MCCB | EA | SS
908569116 | TFMR,U/S,1MVA,33KV,400/230V,8CK,6MCCB | EA | SS
908569105 | TFMR,U/S,1.5MVA,13.8KV,400/230V,10CK,8MC | EA | SS
908569103 | TFMR,U/S,1.5MVA,33KV,400/230V,10CK,8MCCB | EA | SS
908371002 | MCCB750VAC,60A,3P,220/127&380/220V | EA | NS